| Title | Install LPG systems for gas installations in mobile applications |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 6 |

| Purpose | This unit standard is for people who work in the gasfitting industry. People credited with this unit standard are able to: – select appropriate LPG cylinder supply systems for gas installations in mobile applications.; – install LPG systems for gas installations in mobile applications; and – commission LPG systems for gas installations in mobile applications. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Gasfitting |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the:

Gas Act 1992;

Gas (Safety and Measurement) Regulations 2010;

Health and Safety at Work Act 2015.

The following standards, which are available at http://www.standards.govt.nz:

AS/NZS 1596:2014, The storage and handling of LP Gas,

AS/NZS 5601.1:2013 Gas installations - Part 1: General installations,

AS/NZS 5601.2:2013 Gas installations - Part 2: LP Gas installations in caravans and boats for non-propulsive purposes.

The following codes of practice, which are available at http://www.gasnz.org.nz/lpg-association-of-new-zealand/lpga/codes-of-practice:

GasNZ Code of Practice No. 2 Installation and maintenance of twin 45kg LPG cylinder systems,

GasNZ Code of Practice No. 5 Installation and maintenance of LPG multi-cylinder systems.

Any new, amended or replacement referenced standards, codes of practice, guidelines, Building Code Acceptable Solutions and Verification Methods, or authority requirements affecting this unit standard will take precedence for assessment purposes, pending review of this unit standard.

2	Definitions

LPG cylinder systems refer to cylinders and associated fittings including pigtails, regulators, manifolds, condensate trap/drain, and where necessary system pipework.

Mobile applications refer to installations of LPG for non-propulsive purposes in boats, caravans, food trucks, floating restaurants, motorhomes, motor caravans, mobile catering facilities.

3	Candidates must hold a current limited certificate trainee authorisation or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

4	Assessment information

Where there is content in codes and standards that applies to both mobile and fixed LPG cylinder systems, assessment against this standard is to focus on the unique attributes of mobile installations.

5	Range

LPG cylinder systems may include any combination of – single cylinder, multiple cylinder, single stage and two stage regulators.

6	Level of performance

To achieve this standard the candidate must be capable of consistently performing the requirements:

- to current and relevant legislation, standards and codes (including safety);

- in an environmentally sustainable manner;

- within an acceptable timeframe;

- in the workplace;

- in different and unfamiliar contexts.

Outcomes and performance criteria

Outcome 1

Select appropriate LPG cylinder supply systems for gas installations in mobile applications.

Performance criteria

- 1.1	Determine the adequate LPG gas supply system to meet the requirements of the intended application.

Range	considerations – vaporisation, load.

- 1.2	Select system components that are appropriate for the intended system.

Range	may include but is not limited to – LPG cylinders, changeover regulators, excess flow valves, flexible hoses, single and two stage regulation, condensate trap, cylinder connections, relief valves, relief pipes.

Outcome 2

Install LPG systems for gas installations in mobile applications.

Performance criteria

- 2.1	Calculate required capacities with reference to the maximum appliance load.

- 2.2	Establish the location of the systems in accordance with relevant standards and codes.

- 2.3	Determine the safety requirements of systems in accordance with relevant standards and codes.

- Range	must include but is not limited to – gas detection, ventilation, vapour barriers and lockouts.

- 2.4		Select appropriate materials in accordance with job requirements and relevant standards and codes.

- 2.5	Install systems in accordance with relevant standards and codes.

- 2.6	Confirm physical protection of installed systems in accordance with relevant standards and codes.

- 2.7	Perform leakage tests and purging in accordance with relevant standards and codes.

- 2.8	Confirm the weathertightness of internal and external penetrations in accordance with relevant standards and codes.

Outcome 3

Commission LPG systems for gas installations in mobile applications.

Performance criteria

- 3.1	Commission system in accordance with relevant standards and codes.

Range	must include but is not limited to – checking and adjusting operating pressures, checking function of safety components, which include lockouts (where applicable).

- 3.2	Complete documentation in accordance with relevant standards and codes.

Range	may include but is not limited to information required for – gas certificates, guarantees, checklists, site certification.

- 3.3	Complete the consumer instruction process to be followed on completion of installation and commissioning.

| Replacement information | This unit standard, unit standard 30720, unit standard 30721, and unit standard 30722 replaced unit standard 21897. |
| --- | --- |

| Planned review date | 31 December 2029 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 November 2017 | 31 December 2028 |
| Review | 2 | 25 July 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.