	NZQA Expiring unit standard
	30726 version 2

	
	Page 1 of 2




	Title
	Install, commission, and maintain mechanical gas appliances and equipment

	Level
	4
	Credits
	10


	Purpose
	This unit standard is for people who work in the gasfitting industry.

People credited with this unit standard are able to:

– install mechanical gas appliances and equipment;

– commission mechanical gas appliances and equipment; and

– maintain mechanical gas appliances and equipment.


	Classification
	Plumbing, Gasfitting and Drainlaying > Gasfitting


	Available grade
	Achieved


Guidance Information

1
References

Building Act 2004;

Electricity Act 1992;

Gas Act 1992;

Gas (Safety and Measurement) Regulations 2010;

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters, and Drainlayers Regulations 2010;

The following standards, which are available at http://www.standards.govt.nz:

AS/NZS 5601.1:2013 Gas installation,

AS/NZS 5601.2:2013 LP Gas installations in caravans and boats for non-propulsive purposes,
NZS 3604:1999 Timber Framed Buildings;
The following clauses, and any related compliance documents, which are available at https://www.building.govt.nz/:

New Zealand Building Code, Clause E2 External moisture,

New Zealand Building Code Clause G11 Gas as an Energy Source;

and all subsequent amendments and replacements.

2
Range

Mechanical gas appliances include cooking, space heating, and water heating appliances.

For the purposes of assessment learners must complete practical activities on four appliances, as follows:

· two gas cooking appliances which must an oven or range, plus one other from, gas hobs, grills, fryers, ring burners;

· one gas heating appliance which may include but is not limited to – natural draught, balanced flue, portable heater, flueless heater, radiant panel heater;

· one gas water heating appliance which may include but is not limited to – water heaters, pool heaters, spa pool heaters.

3
Credit for this unit standard does not entitle the candidate to legally perform certain aspects of this work unless registered or supervised by a registered person under the provisions of the Electricity Act 1992.

4
This unit standard requires the application of theory as included in the Plumbers, Gasfitters, and Drainlayers Regulations 2010.
5
Definitions


Job specifications – instructions (oral, written, graphic) and may include any of the following: manufacturers’ instructions; design drawing detail specifications; specifications from a specialist source such as an architect, designer, engineer, or a supervisor; and site or work specific requirements.  Where job specifications are in conflict with applicable legislation, standards, and/or codes, such legislation, standards, and/or codes shall take precedence for the purpose of assessment.


Maintain may refer to all or any of – repair, upgrade, alter, remove, replace.


Mechanical gas appliances – mechanically controlled gas appliances that do not rely on supplied electricity, and are generally below 250MJ per hour rated input.


Other services – to any existing installed services.
6
All practical activities are to be carried out in a way that avoids harm to people and damage to property, environment, other services, materials, tools, and equipment.

Outcomes and performance criteria
Outcome 1
Install mechanical gas appliances and equipment.

Performance criteria
1.1
Select gas appliances, flues, and ventilation (where required) in accordance with AS/NZS 5601:2013 and manufacturer instructions.

1.2
Establish location of gas appliances, flues, and ventilation in accordance with job specifications.

1.3
Verify that the gas type and supply pressure is suitable and safe for the appliance to be installed.

1.4
Verify that gas is available at an adequate flow rate to meet the anticipated maximum load.

1.5
Install gas appliances, flues, and ventilation in accordance with AS/NZS 5601:2013, Part 1 and Part 2.

1.6
Carry out soundness tests in accordance with AS/NZS 5601:2013, Part 1 and Part 2.

1.7
Connect gas appliances and associated fittings to gas supply connection points.

1.8
Test final connections.

Outcome 2
Commission mechanical gas appliances and equipment.

Performance criteria
2.1
Commission gas appliance in accordance with manufacturer instructions.

2.2
Test flues in accordance with AS/NZS 5601:2013, Part 1 and Part 2.

Range
smoke test or draft gauge.

2.3
Complete required commissioning documentation.

Range
includes information for – gas certificates, guarantees;


may also include – other company requirements, checklists, photographs.

Outcome 3
Maintain mechanical gas appliances and equipment.

Performance criteria
3.1
Perform scheduled servicing in accordance with job specifications and manufacturer instructions.

3.2
Carry out gas appliance isolation and cleaning in accordance with job specifications.

3.3
Test flues and ventilation in accordance with job specifications.

3.4
Identify causes of faults and possible means of rectification.

Range
faults may include but are not limited to – poor gas supply, regulator fault, ignition fault, burner fault, flame failure device fault, heat exchanger, flue;


considerations relating to possible means of repair may include but are not limited to – component availability, repair costs, cost of equivalent new appliance.


assessment must include at least one example of commissioning an atmospheric burner.

3.5
Rectify faults in accordance with job specifications, taking into account economics of repair or replacement procedure.

3.6
Carry out operational tests in accordance with job specifications and AS/NZS 5601:2013, Part 1 and Part 2.

3.7
Complete documentation and customer communication in accordance with job specifications.

	Replacement information
	This unit standard and unit standard 30725 replaced unit standard 21890.


This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.
Status information and last date for assessment for superseded versions

	Process
	Version
	Date
	Last Date for Assessment

	Registration
	1
	23 November 2017
	31 December 2028

	Review
	2
	25 July 2024
	31 December 2028


	Consent and Moderation Requirements (CMR) reference
	0003


This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.
	Waihanga Ara Rau Construction and Infrastructure Workforce Development Council
SSB Code 6046
	SYMBOL 211 \f "Symbol" New Zealand Qualifications Authority 2024



