| Title | Install and flash wall claddings |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 24 |

| Purpose | This unit standard aligns with the New Zealand Certificate in Carpentry – Specifications, developed on behalf of the construction industry to specify the skills and knowledge required to achieve the New Zealand Certificate in Carpentry (Level 4) [Ref: 2738]. This unit standard is intended for those working in the construction industry. People credited with this unit standard are able to install and flash wall claddings to the level required of a commercially competent carpenter. |
| --- | --- |

| Classification | Construction Trades > Carpentry |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

This unit standard is one of a family of standards that align with the New Zealand Certificate in Carpentry – Specifications and should be read, interpreted and assessed in the context of those Specifications and the New Zealand Certificate in Carpentry (Level 4) [Ref: 2738].

The overarching level of performance for the family of unit standards is commercial competence.

Commercial competence requires a candidate to be capable of consistently performing the requirements of the skill specification:

- to current regulatory, industry and commercial standards;

- within a commercially viable timeframe;

- in commercial environments;

- without supervision;

- in different and unfamiliar contexts.

The sufficiency of evidence required to demonstrate commercial competence against this unit standard is determined within the context of the family of unit standards aligned to the Specifications.

The assessor must be confident that the candidate is capable of applying the skills and knowledge included in this skill specification to the level, scope and complexity required to support the achievement of related skills included in the Specifications.

Commercial competence can only be demonstrated, and must be assessed, in the workplace.

The assessment of commercial competence must be corroborated and confirmed by a person who has current expertise in the carpentry trade and has had the opportunity to regularly observe the candidate in the workplace.

Reference

New Zealand Certificate in Carpentry – Specifications, BCITO, April 2018, available from www.waihangaararau.nz.

Skill specification and performance level guidance

Skill specification

Install and flash wall claddings.

Know	The different types and properties of sheet claddings.

The different types and properties of lineal board claddings.

The requirements and installation of underlay and cavity systems.

How to fix sheet claddings.

How to fix lineal board claddings.

How to install claddings at internal and external corners.

How to install claddings around windows, doors and other penetrations.

How to form joins in cladding materials.

How to integrate different cladding materials.

Do		Install underlay and cavity system.

Install sheet cladding.

Install lineal board cladding.

Install flashings and trim for claddings.

Performance level guidance

Installing claddings includes forming internal and external corners, junctions, joins and penetrations.

| Planned review date | 31 December 2023 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 1 March 2018 | N/A |
| Rollover and Revision | 2 | 15 December 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihanga.nz if you wish to suggest changes to the content of this unit standard.