| Title | Prepare and lay drainage systems for landscape sites |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 6 |

| Purpose | People credited with this unit standard are able to prepare and lay drainage systems for landscape sites. |
| --- | --- |

| Classification | Horticulture > Landscape |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation relevant to this unit standard includes but is not limited to:

- Hazardous Substances and New Organisms Act 1996

- Health and Safety at Work Act 2015

- Resource Management Act 1991

and any subsequent amendments.

2	Definition

Workplace procedures refer to the procedures and standards set by the client or employing organisation for laying drainage systems and must be consistent with specifications and drawings, and equipment manufacturer’s guidelines.

3	In the absence of specifications or drawings the drainage system must be appropriate for the site, meet client requirements, and council regulations.

4	All evidence presented in this assessment must be in accordance with workplace procedures.

Outcomes and performance criteria

Outcome 1

Prepare and lay drainage systems for landscape sites.

Range	must include – surface drainage (examples – cesspit, catch pit, strip drains); ground drainage (examples – PVC piping, Novacoil, sheet drainage systems).

Performance criteria

1.1	Set out and excavate for drainage systems.

1.2	Install or create effective drainage systems for the site.

1.3	Backfill and compact.

1.4	Wear personal protective equipment appropriate for the task.

1.5	Work safely around other people and machinery working on site.

1.6	Clean and store tools and equipment after use.

1.7	Record details of layout of, and materials used in, drainage systems.

| Replacement information | This unit standard and unit standard 31073 replaced unit standard 992. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 29 March 2018 | 31 December 2025 |
| Review | 2 | 24 March 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0052 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Muka Tangata - People, Food and Fibre Workforce Development Council qualifications@mukatangata.nz if you wish to suggest changes to the content of this unit standard.