| Title | Carry out maintenance operations on wastewater networks |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 20 |

| Purpose | People credited with this unit standard are able to: demonstrate knowledge of wastewater networks; demonstrate knowledge of materials, fittings, and techniques used for wastewater networks; and carry out maintenance operations on wastewater networks. |
| --- | --- |

| Classification | Infrastructure Works > Pipeline Construction and Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation and references relevant to this unit standard include: Health and Safety at Work Act 2015 and Resource Management Act 1991;

Excavation Safety – Good Practice Guidelines, available from https://worksafe.govt.nz;

NZS 4404:2010 Land Development and Subdivision Infrastructure, available from http://www.standards.govt.nz.

2	Assessment against this unit standard must take place in a workplace environment and the context must be specific to the candidate’s own role on site.  Assessment may be by simulation.  Assessment parameters depend on company and sit-specific equipment, procedures, and practices.  Practices must reflect industry best practice and comply with legislative requirements.

3	Definitions

Company requirements include the policy, procedures, and methodologies of the company.  They include legislative and regulatory requirements that may apply across the company or to a specific site.  Requirements are documented in the company health and safety plans, traffic management plans, contract work programmes, quality plans, policies, and procedural documents.

Job instructions are instructions given to the operator prior to undertaking a job.  They may include site safety instructions, contract drawings, and written memos.

PVC means polyvinyl chloride, a commonly-used pipe material.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of wastewater networks.

Performance criteria

1.1	Wastewater networks are described in terms of their purpose and public health considerations.

1.2	Components of wastewater networks are explained in terms of their purpose and function.

1.3	Hydraulics of wastewater networks are explained in terms of causes and impacts of flow rate changes, and techniques for flow measurement.

1.4	Inflow, infiltration, and exfiltration are explained in terms of their causes, effects, and prevention.

1.5	Quality control operations for wastewater network operation is explained in accordance with company requirements.

1.6	Internal and external causes of pipe blockage or failure are explained in terms of their effects and prevention.

Outcome 2

Demonstrate knowledge of materials, fittings, and techniques used for wastewater networks.

Performance criteria

2.1	Types of wastewater pipe are described in terms of their features, handling, fittings, jointing requirements, and uses.

Range	concrete, polyvinyl chloride (PVC), polyethylene (PE), acrylonitrile-butadiene-styrene (ABS), stainless steel, ceramic.

2.2	Types of pipe that may be encountered in older wastewater networks are described in terms of their maintenance requirements.

Range	brick, cast iron, asbestos, concrete lined steel.

2.3	Techniques for joining wastewater pipes and access chambers are described, including use of special couplers and flexible joints.

2.4	Rehabilitation and replacement of pipes are described in terms of their requirements and procedures.

Range	two rehabilitation techniques, two replacement techniques.

2.5	Procedures when shutting down a wastewater network for maintenance are described in accordance with company requirements.

2.6	Pipe unblocking, overflow management, and bypass pumping are described in accordance with company requirements.

Outcome 3

Carry out maintenance operations on wastewater networks.

Performance criteria

3.1	Job instructions are checked and confirmed, and materials and tools are selected in accordance with company requirements.

3.2	Network flow is reduced or stopped to allow work to take place in accordance with job instructions and company requirements.

3.3	Excavation and any required groundwater control are carried out safely and in accordance with company requirements.

3.4	Pipe cleaning and unblocking is carried out in accordance with job instructions and company requirements.

3.5	Pipes, components, and joints are installed and tested in accordance with job instructions and company requirements.

3.6	Backfill, compaction and reinstatement are completed in accordance with job instructions and company requirements.

3.7	Maintenance of access chambers is completed in accordance with job instructions and company requirements.

3.8	Spills and overflow are managed, and contaminated debris is disposed of in accordance with legislative and company requirements.

| Replacement information | This unit standard and unit standard 31451 were replaced by unit standard 32814 and unit standard 32815. This unit standard replaced unit standard 19213, unit standard 19214, unit standard 19215, unit standard 22098, unit standard, and unit standard 22111. |
| --- | --- |

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 27 September 2018 | 31 December 2025 |
| Review | 2 | 26 August 2021 | 31 December 2025 |
| Revision | 3 | 29 September 2022 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.