| Title | Coordinate and monitor the location of services for infrastructure works supervision |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | People credited with this unit standard are able to coordinate and monitor the location of services for infrastructure works supervision. |
| --- | --- |

| Classification | Infrastructure Works > Infrastructure Works Supervision |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with relevant legislative and industry requirements.

2	Legislation and references relevant to this unit standard include:

- Health and Safety at Work Act 2015, available from www.legislation.govt.nz;

- National Code of Practice for Utilities’ Access to the Transport Corridors; July 2019, available from National Code | NZUAG;

- Guide for Safety with Underground Services, available from www.worksafe.govt.nz;

- Excavation Safety: Good Practice Guidelines; July 2016, available from https://worksafe.govt.nz/topic-and-industry.

3	Definitions

Industry requirements include the policy, procedures, and methodologies of the company.  They include legislative and regulatory requirements which may apply across the company or to a specific site.  Requirements are documented in the company’s health and safety plans, traffic management plans, contract work programmes, quality assurance programmes, policies, and procedural documents.

Contract specifications include plans, diagrams, and special technical conditions.  They do not include special administrative conditions.

Network stand-over is an on-site technician provided by a network service provider, whose role is to advise on digging in the vicinity of the network’s services.

Services refer to public utilities such as power, telecommunications, water, wastewater, stormwater, and gas and to privately owned networks such as farm irrigation systems.

Outcomes and performance criteria

Outcome 1

Coordinate and monitor the location of services for infrastructure works supervision.

Performance criteria

1.1	Network service providers are informed of intention to excavate and site plans and service location information are obtained in accordance with industry requirements.

1.2	Type, location, and current status of services to be located are determined and communicated to staff in accordance with industry requirements and contract specifications.

1.3	Any required permit is obtained and any requirement for a network stand-over is arranged with relevant service provider and communicated to staff in accordance with industry requirements and contract specifications.

1.4	Monitoring ensures existing services are located, services that cannot be located are investigated, and unidentified services are investigated, recorded, and reported in accordance with industry requirements and contract specifications.

1.5	Position and status of located services is communicated to relevant infrastructure worksite staff, and network service providers in accordance with industry requirements.

1.6	Damage to services is managed and reported in accordance with industry requirements, the requirements of service providers, and any relevant controlling authority.

| Planned review date | 31 December 2029 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 30 August 2018 | 31 December 2026 |
| Review | 2 | 12 December 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.