| Title | Service or commission, and disinfect, reticulation mains for drinking-water supply networks |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 6 |

| Purpose | People credited with this unit standard are able to: prepare to service or commission reticulation mains; and service or commission, and disinfect, reticulation mains; for drinking-water supply networks. |
| --- | --- |

| Classification | Water Industry > Water Reticulation |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation and references relevant to this unit standard include:

Health and Safety at Work Act 2015;

Resource Management Act 1991;

National Code of Practice for Utilities’ Access to the Transport Corridors available from http://www.nzuag.org.nz/national-code/;

Guide for Safety with Underground Services and Excavation Safety – Good practice guidelines;

NZS 4404:2010 Land development and subdivision infrastructure, available from http://www.standards.govt.nz.

2	Evidence is required for one reticulation main, and may be from – a newly laid main, a planned repair, or repair following an unplanned main failure. Evidence may be from a simulated scenario.

3	Assessment against this unit standard must take place in a workplace environment.  Assessment parameters will depend on company requirements and site-specific equipment, procedures, and practices.  Practices must reflect industry best practice and comply with legislative requirements.

4	Definitions

Company requirements include the policy, procedures, and methodologies of the company.  They include legislative and regulatory requirements applicable to the company or a specific site.  Requirements are documented in the company’s health and safety plans, traffic management plans, contract work programmes, quality assurance programmes, policies, and procedural documents.

Contract specifications include plans, diagrams, and special technical conditions.

Disinfection means the use of chlorine at higher than normal reticulation supply levels.

Outcomes and performance criteria

Outcome 1

Prepare to service or commission reticulation mains for drinking-water supply networks.

Performance criteria

1.1	Requirements for the work are obtained, and method of network isolation is determined and confirmed in accordance with contract specifications and company requirements.

1.2	Schedule is planned to ensure work can be completed within acceptable timeframes for disruption to public services in accordance with contract specifications and company requirements.

1.3	Plant, equipment, fittings, and materials are selected in accordance with servicing requirements and company requirements.

1.4	Services are located, and site conditions are checked and confirmed as suitable for work to take place in accordance with contract specifications and company requirements.

1.5	Site management and communication requirements are determined and confirmed as in place before commencement of work.

Range	site safety plan, environmental plan, any traffic management plan, notifications.

Outcome 2

Service or commission, and disinfect, reticulation mains for drinking-water supply networks.

Performance criteria

2.1	Site is prepared, equipment is set up, any excavation is carried out, and network is isolated in accordance with contract specifications and company requirements.

2.2	The reticulation main is drained in accordance with contract specifications.

2.3	Servicing or commissioning work is completed in accordance with contract specifications and company requirements.

2.4	Disinfection method and dose levels and times are determined and selected in accordance with contract specifications and company requirements.

2.5	Disinfection is applied for the set time, and test measurements are made, in accordance with contract specifications and company requirements.

2.6	Any chlorinated water is disposed of in an environmentally acceptable manner in accordance with contract specifications and company requirements.

2.7	The reticulation main is filled, the water quality checked, and main is put into service in accordance with contract specifications and company requirements.

2.8	Required documentation is completed in accordance with contract specifications and company requirements.

| Replacement information | This unit standard replaced unit standard 19210. |
| --- | --- |

| Planned review date | 31 December 2023 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 29 November 2018 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis Infrastructure ITO qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.