| Title | Analyse water loss for a drinking-water reticulation network |
| --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | People credited with this unit standard are able to analyse water loss for a drinking-water reticulation network. |
| --- | --- |

| Classification | Water Industry > Water Reticulation |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation and references relevant to this unit standard include:

Health and Safety at Work Act 2015

Resource Management Act 1991;

NZS 9201.7:2007 Model general bylaws - Water supply, available from http://www.standards.govt.nz;

Guidelines for Drinking-water Quality Management for New Zealand 2015 (2nd edition);

Drinking Water Standards for New Zealand 2005 (Revised 2008), Ministry of Health, Wellington; and

Local and territorial authority requirements.

2	Assessment against this unit standard must take place in a workplace environment.  Assessment parameters will depend on site-specific equipment, procedures, and practices.  Practices must reflect industry best practice and comply with legislative requirements.

3	Evidence is required for one planned method and one reactive method of water loss analysis.

4	Definitions

Company requirements include the policy, procedures, and methodologies of the company.  They include legislative and regulatory requirements applicable to the company or a specific site.  Requirements are documented in the company’s health and safety plans, traffic management plans, contract work programmes, quality assurance programmes, policies, and procedural documents.

Outcomes and performance criteria

Outcome 1

Analyse water loss for a drinking-water reticulation network.

Performance criteria

1.1	Water loss is explained in terms of ways in which it becomes apparent in a drinking-water reticulation network.

1.2	Network plan is obtained, and method of evaluation is determined and confirmed in accordance with situation. and company requirements.

1.3	Water loss rate and location of water loss are determined, and cause of water loss is identified in accordance with company requirements.

1.4	Details of water loss are recorded and reported, and a course of action is recommended in accordance with acceptable thresholds and company requirements.

| Planned review date | 31 December 2023 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 29 November 2018 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis Infrastructure ITO qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.