| Title | Perform work on live wastewater and stormwater networks |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to prepare to perform and perform work on live wastewater and stormwater networks. |
| --- | --- |

| Classification | Water Industry > Water Reticulation |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation and references relevant to this unit standard include:

Health and Safety at Work Act 2015,

Resource Management Act 1991,

Hazardous Substances and New Organisms (HSNO) Act 1996;

NZS 4404:2010 Land Development and Subdivision Infrastructure;

Local and territorial authority requirements.

2	Assessment against this unit standard must take place in a workplace environment.  Assessment parameters will depend on site-specific equipment, procedures, and practices.  Practices must reflect industry best practice and comply with legislative requirements.

3	Definitions

Company requirements include the policy, procedures, and methodologies of the company.  They include legislative and regulatory requirements that may apply across the company or to a specific site.  Requirements are documented in the company health and safety plans, traffic management plans, contract work programmes, quality plans, policies, and procedural documents.

Contract specifications include plans, diagrams, and special technical conditions.  They do not include special administrative conditions.

Live wastewater and stormwater networks are networks which are currently in service and for which disruptions to the service will impact the public.

Outcomes and performance criteria

Outcome 1

Prepare to perform work on live wastewater and stormwater networks.

Performance criteria

1.1	Job requirements are obtained, and method of network isolation and overflow prevention is determined and confirmed. in accordance with contract specifications and company requirements.

1.2	Schedule is planned to ensure work can be completed within acceptable timeframes for disruption to public services in accordance with contract specifications and company requirements.

1.3	Plant, equipment, fittings, materials, and any specialist PPE are selected in accordance with maintenance methods and company requirements.

1.4	Services are located, and site conditions are checked and confirmed as suitable for work to take place in accordance with contract specifications and company requirements.

1.5	Site management and communication requirements are determined and confirmed as in place before commencement of work.

Range	site safety plan, environmental plan, any traffic management plan, notifications.

Outcome 2

Perform work on live wastewater and stormwater networks.

Performance criteria

2.1	A safe working zone is established, equipment is set up, and excavation is carried out prior to isolation of network and in accordance with company requirements.

2.2	Section of network to be worked on is isolated using selected method in accordance with contract specifications and company requirements.

2.3	Work is carried out within scheduled timeframe and in accordance with contract specifications and company requirements.

2.4	Isolated section is cleaned and tested for integrity in accordance with contract specifications and company requirements.

2.5	Section is put back into service, including any required air release, in accordance with contract specifications and company requirements.

2.6	Any spillage is managed, and contaminated debris is removed and disposed of in accordance with contract specifications and company requirements.

2.7	Personal and public health protection practices are maintained throughout the work in accordance with contract specifications and company requirements.

2.8	Required documentation is completed in accordance with contract specifications and company requirements.

| Planned review date | 31 December 2023 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 29 November 2018 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis Infrastructure ITO qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.