| Title | Carry out rubber ring jointing on pipes for infrastructure works |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 6 |

| Purpose | People credited with this unit standard are able to prepare to carry out and carry out rubber ring jointing on pipes for infrastructure works. |
| --- | --- |

| Classification | Infrastructure Works > Infrastructure Works Utilities |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation and references relevant to this unit standard include:

Health and Safety at Work Act 2015, and subsequent amendments;

AS 2865: 2009 Confined spaces;

AS 1646-2007 Elastomeric seals for waterworks purposes; Australian standards are available from https://infostore.saiglobal.com/;

AS/NZS 2032:2006 Installation of PVC pipe systems;

AS/NZS 2280:2014 Ductile iron pipes and fittings;

AS/NZS 2566.2:2002 Buried flexible pipelines – installation; all available from http://www.standards.govt.nz.

2	Assessment against this unit standard must take place in a workplace environment.  Assessment parameters will depend on site-specific equipment, procedures, and practices.  Practices must reflect industry best practice and comply with legislative requirements.

3	Definitions

Company requirements include the policy, procedures, and methodologies of the company.  They include legislative and regulatory requirements applicable to the company or a specific site.  Requirements are documented in the company’s health and safety plans, traffic management plans, contract work programmes, quality assurance programmes, policies, and procedural documents.

Contract specifications include plans, diagrams, and special technical conditions.

Manufacturer’s instructions may include specifications, installation, handling, use and maintenance instructions and safety data sheets.

Outcomes and performance criteria

Outcome 1

Prepare to carry out rubber ring jointing on pipes for infrastructure works.

Performance criteria

1.1	Plan is obtained, and job details are determined and confirmed in accordance with company requirements.

1.2	Equipment, fittings, and materials are selected, and checked and confirmed as in accordance with contract specifications and company requirements. Action is taken to rectify any damage or non-conformance.

1.3	Site conditions are checked and confirmed as suitable for work to take place in accordance with contract specifications and company requirements.

1.4	Site management and communication requirements are determined and confirmed as in place before commencement of work.

Range	site safety plan, environmental plan, any traffic management plan, notifications.

Outcome 2

Carry out rubber ring jointing on pipes for infrastructure works.

Performance criteria

2.1 	Pipes are prepared and areas to be joined are cleaned, ring is positioned, and ring and spigot are lubricated in accordance with manufacturer’s instructions and company requirements.

2.2	Pipe to be joined is aligned to the spigot and manoeuvred into place in accordance with manufacturer’s instructions and company requirements.

2.3	Integrity testing of joint is carried out in accordance with contract specifications and company requirements.

2.4	Documentation is completed in accordance with contract specifications and company requirements.

| Planned review date | 31 December 2023 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 29 November 2018 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis Infrastructure ITO qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.