| Title | Set up site and equipment for trenchless pipe installation or rehabilitation and disestablish the site afterwards |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to set up a site and equipment for, and disestablish a site after, trenchless pipe installation or rehabilitation. |
| --- | --- |

| Classification | Infrastructure Works > Pipeline Construction and Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with relevant legislative and industry requirements.

2	Legislation relevant to this unit standard includes: Health and Safety at Work Act 2015 and any subsequent amendments.

3	Definitions

Industry requirements refer to relevant policies, processes, methodologies, industry codes of practice, site specific health and safety plans, standard operating procedures, site safety plans, quality plans, work plans, traffic management plans, contract work programmes, job safety analysis, safe work method statements, job instructions, manufacturer’s requirements, contract specifications, manuals, procedural documents, Waka Kotahi New Zealand Transport Agency specifications and guidelines.

Set-out means to set out a site by survey method using pegs.

4	Range

This unit standard does not include the knowledge and skills of operating a mobile excavator, and road opening and restoration.  Evidence must be provided for two different sites.

Outcomes and performance criteria

Outcome 1

Set up a site for trenchless pipe installation or rehabilitation.

Performance criteria

1.1	Public and work area protection is set up.

1.2	On-site hazards are identified and reported and/or controlled.

1.3	On-site environmental controls are implemented.

1.4	General site layout, existing services, and ground conditions are visually inspected, and any possible problems identified for the intended operations are reported.

1.5	Set-out is undertaken.

1.6	Surfaces are opened and pits excavated as required for entry and exit works and for visual inspection during the operations.

Outcome 2

Set up equipment for trenchless pipe installation or rehabilitation.

Performance criteria

2.1	Equipment is checked to establish its fitness for the operation and to identify any faults and maintenance needs.  Any problems are reported.

2.2	Communication systems are established and confirmed.

2.3	Equipment is set up and systems are pre-tested.

2.4	Any required temporary supply and/or flow management measures are put in place.

Outcome 3

Disestablish a site after trenchless pipe installation or rehabilitation.

Performance criteria

3.1	Plant and equipment is shut down and removed.

3.2	Materials are removed and/or disposed of.

Range	excess pipe, excavated ground spoil, chemicals, cleaning debris.

3.3	Any required surface reinstatement is carried out.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 29 November 2018 | 31 December 2023 |
| Review | 2 | 26 August 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.