| Title | Install, test and fault find structured cabling for complex network systems and services |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | This standard is intended for technicians who work on complex telecommunications networks. People credited with this unit standard are able to prepare for, install, test and fault find structured cabling for complex network systems and services. |
| --- | --- |

| Classification | Telecommunications > Telecommunications - Service Delivery |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Learning and assessment within this unit standard must be carried out in accordance with the following legislation, guidelines, and codes of practice, as relevant to role, and any subsequent amendments:

- New Zealand Telecommunications Forum Inc., Customer Complaints Code, available from https://www.tcf.org.nz/industry/resources/publications/industry-standards-guides/

- Health and Safety at Work Act 2015

- Privacy Act 2020

- Resource Management Act 1991

- Telecommunications Act 2001, all available from http://legislation.govt.nz/.

2	Definitions

Complex refers to three or more components and/or services used together in networks or enterprise solution systems.

Customer refers to internal and external customers to the organisation and may include but are not limited to vendors/suppliers, business partners, the public, government, service providers, team members, network owners.

Industry practice refers to practices that competent technicians within the industry recognise as current industry best practice.

Specifications refer to detailed job specifications, drawings, instructions, manufacturer’s specifications and instructions or any employer or company specifications.

3	For the purpose of this unit standard, assessment can take place in a core network, access network, or wireless technology telecommunications work environment.

4	Range

Evidence for three different worksites is required.

Outcomes and performance criteria

Outcome 1

Prepare for installation of structured cabling for complex network systems and services.

Performance criteria

  - Scope and timing of installation work is determined in accordance with specifications and customer requirements.

1.2	Cables and a structured cabling system are confirmed in terms of suitability and alignment with specifications and industry practice.

1.3	Service entrances, terminating facilities and equipment rooms are confirmed in accordance with the installation plan.

1.4	Installation plan is developed and confirmed with the customer and supervisor.

Range	available resources, required materials, timing, and site access.

1.5	Materials are obtained from stock and delivered to site in accordance with industry practice.

Outcome 2

Install structured cabling for complex network systems and services.

Performance criteria

2.1	Fitting, mounting, location, and positioning of hardware is completed in accordance with specifications and industry practice.

Range	hardware may include but is not limited to – cable trays, ducting, terminating blocks, cabinets, frames, connectors, catenary wiring.

2.2	Earthing, bonding, and protection is completed in accordance with specifications and industry practice.

2.3	Cables are installed, terminated, and labelled in accordance with specifications and industry practice.

2.4	Fire-stopping products are installed in accordance with regulatory requirements and industry practice.

2.5	Installation progress documentation is maintained in accordance with the installation plan.

2.6	Drawings are marked up to reflect the as-built situation in accordance with industry practice.

2.7	Site restoration is carried out in accordance with specifications and industry practice.

Outcome 3

Test and fault find structured cabling for complex systems and services.

Performance criteria

3.1	Visual inspection confirms that all specified items are installed to specifications.

3.2	Testing confirms that all cables interconnect with the specified terminations in accordance with industry practice.

3.3	Basic acceptance tests for the cabling system are completed in accordance with specifications and industry practice.

3.4	Faults are identified and located by logical interpretation of test results and rectified in accordance with industry practice.

3.5	Test results are confirmed in accordance with specifications, and company requirements.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 May 2019 | N/A |
| Rollover and Revision | 2 | 25 January 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.