| Title | Describe wastewater treatment processes, hazards, and the management of critical control points |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 20 |

| Purpose | People credited with this unit standard are able to describe: wastewater treatment processes and their interrelationships in the treatment of wastewater; hazards; and the management of critical control points for wastewater treatment processes. |
| --- | --- |

| Classification | Water Industry > Wastewater Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with organisational procedures and legislative requirements.

2	Legislation, regulations and industry standards relevant to this unit standard include but are not limited to – Health and Safety at Work Act 2015; Resource Management Act 1991; Hazardous Substances and New Organisms (HSNO) Act 1996; and any subsequent amendments or replacements.

3	Definitions

Critical control points – specific point, procedure, or step in wastewater treatment processes at which control can be exercised to reduce, eliminate, or prevent the possibility of an environmental or public health hazard.

Events – unplanned circumstances that negatively affect the plant’s performance.  Events may include – flooding, water ingress, mechanical malfunction, natural disaster, illegal discharge, illegal trade waste, hydraulic overloading, toxicity overloading, computer/PLC system malfunction, electricity disruption, human intervention.

Organisational procedures – instructions to staff, and procedures which are documented in memo or manual format and are available in the workplace.  These requirements include but are not limited to – site specific requirements, manufacturers’ specifications, product quality specifications, and legislative or regulatory requirements.

Wastewater may include stormwater and sewerage systems.

4	For the purpose of this unit standard, processes for which evidence is required include but are not limited to – activated sludge, biosolids, disinfection, fixed growth reactor, lagoon, filtration, oxidation pond, separation, wetlands, nutrient removal, odour control, sludge, preliminary processes.

Outcomes and performance criteria

Outcome 1

Describe wastewater treatment processes and their interrelationships in the treatment of wastewater.

Performance criteria

  - The purpose of each wastewater treatment process is described.

  - The interrelationships between wastewater treatment processes are described.

  - The inputs and outputs of wastewater treatment process control is described.

  - The purpose and function of wastewater treatment process monitoring equipment are described.

  - Plans, drawings and specifications used in wastewater treatment processes are described.

  - The impact of wastewater treatment processes on discharge is described.

Range	quality, quantity.

Outcome 2

Describe hazards and the management of critical control points for wastewater treatment processes.

Performance criteria

2.1	The causes of, and risks posed by, hazards in each wastewater treatment process are described.

2.2	The management of critical control points related to wastewater treatment hazards are described.

2.3	Preventive and corrective actions for events related to each wastewater treatment hazard are described.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 26 September 2019 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.