| Title | Install, repair or adjust traction support fittings |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 20 |

| Purpose | People credited with this unit standard are able to install, repair or adjust traction support fittings in accordance with asset owner’s requirements. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Distribution Networks |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable asset owner, company, and legislative requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to: the Health and Safety at Work Act 2015; Electricity Act 1992; Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) Wellington: Electricity Engineers’ Association available from www.eea.co.nz.

3	Definition

Asset Owner or Company requirements refer to instructions to staff on policy and procedures that are available in the workplace.  These requirements may include – asset owner policies and procedures, company policies and procedures, work instructions, product quality specifications and legislative requirements.

Outcomes and performance criteria

Outcome 1

Install, repair or adjust traction support fittings.

Range	height and staggers, insulators, balance weights;

evidence of three of each is required.

Performance criteria

1.1	Scope of work is identified.

1.2	Worksite and safety plan is developed.

1.3	Load requirements and configuration of fittings are determined.

1.4	Fittings are installed, repaired or adjusted.

1.5	Job is completed to design standard.

1.6	Job record is completed.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 November 2019 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.