| Title | Install or repair traction network structures |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to install or repair traction network structures. This unit standard partially fulfils the requirements for registration as a traction line mechanic with the Electrical Workers Registration Board (EWRB). |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Distribution Networks |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard underpins one of two capstone assessments for registration with the EWRB for the practical skill set of a traction line mechanic in the electricity supply sector.

2	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable asset owner, company, and legislative requirements.

3	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the:

- Health and Safety at Work Act 2015

- Electricity Act 1992

- Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements

- Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) Wellington: Electricity Engineers’ Association available from www.eea.co.nz.

4	Definition

Asset owner or company requirements refer to instructions to staff on policy and procedures that are available in the workplace.  These requirements may include – asset owner policies and procedures, company policies and procedures, work instructions, product quality specifications and legislative requirements.

Outcomes and performance criteria

Outcome 1

Install or repair traction network structures.

Range	network structure types may include – composite, concrete, steel, wood;

evidence of three network structures is required.

Performance criteria

  - Scope of work is identified.

1.2	Worksite and safety plan is developed.

1.3	Load requirements and configuration of traction support fittings are determined.

1.4	Traction network structures are installed or repaired.

1.5	Job is completed to design standard.

1.6	Job record is completed.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 November 2019 | 31 December 2023 |
| Review | 2 | 26 May 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.