| Title | Demonstrate knowledge of traction network earthing and bonding systems |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of traction network earthing and bonding systems. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Distribution Networks |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable asset owner, company, and legislative requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the Health and Safety at Work Act 2015; Electricity Act 1992; Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) Wellington: Electricity Engineers’ Association available from www.eea.co.nz.

3	Definition

Asset Owner or Company requirements refer to instructions to staff on policy and procedures that are available in the workplace.  These requirements may include – asset owner policies and procedures, company policies and procedures, work instructions, product quality specifications and legislative requirements.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of traction network earthing and bonding systems.

Performance criteria

  - Traction network earthing and bonding drawings are interpreted.

  - Risk zones for earthing and bonding are described.

  - Testing requirements for earthing and bonding are described.

  - Earthing and bonding defects are described in terms of their causes and hazards.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 November 2019 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.