| Title | Describe the limits of electrical work for dairy and irrigation systems workers |  |  |
| --- | --- | --- | --- |
| Level | 2 | Credits | 3 |

| Purpose | People credited with this unit standard are able to describe the limits of electrical work for dairy and irrigation systems workers. |
| --- | --- |

| Classification | Mechanical Engineering > Dairy Systems Engineering |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislations and Reference

Electricity Act 1992.

Electricity (Safety) Regulations 2010.

Electrical Workers Registration Board (EWRB) Working Safely and in Compliance available from https://www.ewrb.govt.nz/working-safely-and-in-compliance/.

2	Definitions

EAS – Electrical Appliance Service person.

EST – Electrical Service Technician.

TLC – Trainee Limited Certificate.

3	Range

Prescribed electrical work as listed in the Electrical (Safety) Regulations 2010 covers:

- installation or maintenance of conductors used in works or installations;

- installation or maintenance of fittings connected to, or intended to be connected to conductors used in works or installations;

- connection or disconnection of fittings to or from a power supply, other than by means of a plug or pin inserted into a socket, or an appliance connector inserted into an appliance inlet;

- maintenance of appliances;

- testing of work described in (a) to (d) above;

- certification of work described in (a) to (d) above;

- inspection of work described in (a) to (d) above;

- supervision of any work described in (a) to (d) above.

4	Assessment information

All evidence must comply with the Electricity (Safety) Regulations 2010 and the EWRB rules.

Outcomes and performance criteria

Outcome 1

Describe the limits of electrical work for dairy and irrigation systems workers.

Performance criteria

1.1	Limits of work for each class of electrical registration is described.

Range	TLC, EAS, EST.

1.2	TLC, EAS, EST requirements and system, pathway, and practising license or registration procedures are described.

1.3	Liability and penalties for conducting work outside of the registration class held are described.

1.4	Qualifications and registration classes required for tradesmen who install, service, isolate, connect, and reconnect electrical installations in dairy systems engineering are described.

Range	may include but is not limited to – motors, pumps, generators, compressors, transformers, converters, inverters.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 November 2019 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0013 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Competenz at qualifications@competenz.org.nz if you wish to suggest changes to the content of this unit standard.