| Title | Demonstrate knowledge of home automation systems |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 20 |

| Purpose | This unit standard is intended for service technicians and servicepersons who install, diagnose and repair home automation systems and support facilities. People credited with this unit standard are able to: – demonstrate knowledge of home automation systems; – read and interpret electrical diagrams to describe home automation systems functions; – demonstrate knowledge of cables and connections used in home automation systems; – demonstrate knowledge of connecting hardware and support facilities used with home automation systems; – demonstrate knowledge of the impact of an emerging or converging technology on home automation systems; and – describe professional development opportunities regarding new technologies for home automation systems. |
| --- | --- |

| Classification | Electrical Engineering > Electrotechnology |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Recommended unit standards for entry:

Unit 27912, Demonstrate knowledge of electrical principles in an electrotechnology or telecommunications environment;

Unit 30641, Demonstrate knowledge of electromechanical engineering principles for technicians;

Unit 30648, Demonstrate knowledge of installation practices and procedures for customer premises systems.

2	References

AS/NZS 3000: 2018: Electrical Installations - Known as the Australian/New Zealand Wiring Rules, available from https://www.standards.govt.nz/;

AS/NZS 11801.1:2019 Information technology - Generic cabling for customer premises Part 1: General requirements (ISO/IEC 11801-1:2017, MOD), available from https://www.standards.govt.nz/;

Consumer Guarantees Act 1993;

Contract and Commercial Law Act 2017, Part 3 Sale of Goods;

Electricity Act 1992;

Electricity (Safety) Regulations 2010;

Fair Trading Act 1986;

Hazardous Substances and New Organisms Act 1996;

Health and Safety at Work (Hazardous Substances) Regulations 2017;

Health and Safety at Work Act 2015;

New Zealand Electrical Codes of Practice, ISSN 0114-0663, available from https://www.worksafe.govt.nz;

Privacy Act 1993;

Resource Management Act 1991;

TCF Premises Wiring Cable Installers Guidelines for Telecommunications Services, available from http://www.tcf.org.nz;

and all subsequent amendments and replacements.

3	Definitions

Company practice – those practices and procedures that have been circulated by the company for use by their employees.

Service technicians and servicepersons – for the purposes of this unit standard means, people who hold or who are working towards electrical registration as an Electrical Service Technician, Electrical Appliance Serviceperson (endorsed to disconnect and connect), or Electrical Appliance Serviceperson.

Industry conventions – a set of agreed, specified, or generally accepted standards.

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

Safe and sound practice – relating to the installation of electrical equipment as defined in AS/NZS 3000:2018 Electrical Installations - Known as the Australian/New Zealand Wiring Rules.

4	Assessment

a	Competence may be assessed on:

i	Home automation systems may include but are not limited to – heating, ventilation, air-conditioning, occupancy awareness, lighting, security, audio visual, appliance control and integration (connected cooking), pet and baby care, home automation for elderly and disabled, voice activation;

ii	Transfer medium may include but is not limited to – signal cables, power line cables, radio signals, Wi-Fi, Bluetooth, IR, ultrasound;

iii	Connecting hardware and structure may include but is not limited to – sensors and actuators, home automation and/or databus, central unit, connecting blocks, patch panels, interconnections, cross-connections, or some combination of these components.

b	All measurements are to be expressed in Système Internationale (SI) units and multipliers.

c	Mathematical proof of the subject matter covered by this unit standard is not required.

5	Range

All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation;

ii	policies and procedures;

iii	ethical codes;

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010;

v	safe and sound practice;

vi	applicable site, company and industry practice, and industry conventions;

vii	where appropriate or applicable, environmental requirements, manufacturer instructions, specifications, data sheets and manufacturer, supplier and company health and safety procedures.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of home automation systems.

Performance criteria

1.1	Compare the advantages and disadvantages of operating standards for home automation technology types.

Range	types may include but is not limited to – Wi-Fi, Z-Wave, Zigbee, BLE, Insteaon, thread, X10, UPB, EIB, KNX, LON, BACnet, IP C-Bus, DC-Bus;

evidence of five is required.

1.2	Describe system interfaces, explain how they work and identify the nature of the interface signals.

Range	interface – may include but is not limited to – hardware, human, electronic, optical, signal;

evidence of three is required.

1.3	Describe typical configurations for home automation systems.

Range	description includes how the configuration is carried out;

evidence of three is required.

1.4	Describe the use of test equipment required to take measurements, and perform adjustments in terms of configuration, commissioning, performance and restoration of operation of systems and hardware.

1.5	Identify hazards associated with installing or servicing systems and interfaces, and outline relevant safety procedures.

Outcome 2

Read and interpret electrical diagrams to describe home automation systems functions.

Performance criteria

2.1	Describe home automation systems functions using electrical diagrams.

Range	diagrams may include but is not limited to – block diagrams, functional flow block diagrams, signal flow graph, schematic; evidence of three different systems using at least two types of diagrams is required.

2.2	Explain the function and theory of operation of an identified segment or section.

2.3	Describe the expected values and identify the test points for expected signals associated with an identified segment or section.

2.4	Identify faults for a segment or section and describe symptoms for the fault conditions in terms of expected changes to signals attributable to the fault.

2.5	Describe the operation of hardware and support facilities used with the home automation systems.

Range	evidence of hardware and support facilities relevant to two systems is required.

2.6	Describe the expected measurements at given points of the hardware and support facilities described for the home automation systems.

Outcome 3

Demonstrate knowledge of cables and connections used in home automation systems.

Performance criteria

3.1	Compare and contrast the types of cables used to form a smart home automation system.

Range	may include but is not limited to – construction, application, installation requirements, performance, interface between cable types.

3.2	Compare categories of Ethernet cables in terms of application and performance.

Range	may include but is not limited to – Cat 5, Cat 5e, Cat 6, Cat 6a, crossover.

3.3	Describe the pinout and wiring when using Cat 5 and Cat 5e cabling.

3.4	Compare T568A and T568B colour codes for RJ45 modular plugs in terms of pinout.

Outcome 4

Demonstrate knowledge of connecting hardware and support facilities used with home automation systems.

Performance criteria

4.1	Explain the operation of common interfacing methods used with the hardware and support facilities in terms of method and expected data transfer.

Range	method of data transfer may include but is not limited to – serial communications, parallel communications, wireless communications, IR communications, d.c. voltage control, a.c. voltage control, variable frequency control;

evidence of four types of interfaces is required.

4.2	Describe features and specifications of the identified interfaces between the hardware and support facilities and the home automation systems.

4.3	Describe common human interface systems in terms of type, user-friendliness, and reliability.

4.4	Identify faults in hardware and support facilities, and describe symptoms for given fault conditions in terms of expected changes to signals and voltages attributable to the fault.

Outcome 5

Demonstrate knowledge of the impact of an emerging or converging technology on home automation systems.

Performance criteria

5.1	Describe an emerging or converging technology that may impact on existing systems or hardware with reference to purpose, facilities or services offered.

Range	selected technology should be one applicable in the New Zealand environment.

5.2 	Explain how the emerging or converging technology will impact upon or integrate with existing technologies.

Range	may include but is not limited to – customer benefit, business efficiencies, competitive advantage.

Outcome 6

Describe professional development opportunities regarding new technologies for home automation systems.

Performance criteria

6.1	Describe professional development opportunities regarding new technologies in New Zealand.

Range	may include but is not limited to – conferences, trades shows, internal and external training courses, product courses, meetings, books, brochures, manuals, surveys, webinars;

evidence of three is required.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 January 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.