| Title | Quantify and validate the uncertainty of measurement in test results in a civil engineering laboratory |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 5 |

| Purpose | People credited with this unit standard are able to quantify and validate the uncertainty of measurement in test results in a civil engineering laboratory. |
| --- | --- |

| Classification | Infrastructure Civil Engineering > Infrastructure Laboratory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable organisational and legislative requirements.

- References

Civil Engineering Testing Association of New Zealand. Uncertainty calculation sheet available at https://www.cetanz.org.nz/index-cfmppublications;

ISO/IEC Guide 98-3:2008. Uncertainty of measurement – Part 3: Guide to the expression of uncertainty in measurement available at https://standards.govt.nz.

3	Definition

Organisational requirements refer to instructions to staff on policy and procedures which are formally documented or generally accepted at the worksite.  This may include legislation; industry standards and methods; national and international standards and methods; standard operating procedures; specifications; manuals; and manufacturer’s information.

Outcomes and performance criteria

Quantify and validate the uncertainty of measurement in test results in a civil engineering laboratory.

Outcome 1

1.1	The purpose of establishing measurement uncertainty is explained as it relates to testing materials in a civil engineering laboratory.

  - Contributing factors to measurement uncertainty are explained.

  - Uncertainty of measurement calculator is explained in terms of how it is used in the evaluation of results.

  - Measurements are expressed with uncertainties generated on the calculation sheet or equivalent method.

Range	evidence is required for three different tests.

  - Uncertainties are validated.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 January 2020 | N/A |
| Rollover and Revision | 2 | 24 October 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.