| Title | Cost drainlaying jobs |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 10 |

| Purpose | People credited with this unit standard will be able to cost drainlaying jobs. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Drainlaying |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard builds upon the pre-existing knowledge and skills held by a tradesman drainlayer.  It reflects part of the increased knowledge and skill set that is required to become recognised as a certifying drainlayer.  The competencies expected of a tradesman drainlayer have already been demonstrated and reassessment is not required.

2	References

Building Act 2004;

New Zealand Building Code;

Construction Contracts Act 2002;

Health Act 1956;

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters and Drainlayers Board (Drainlaying Registration and Licensing) Notice 2016;

Resource Management Act 1991;

The following standards, which are available at http://www.standards.govt.nz:

AS/NZS 1546.1:2008 On-site domestic wastewater treatment units – Septic tanks;

AS/NZS 1547:2000 On-site domestic wastewater management;

AS/NZS 3500.2:2018 Plumbing and drainage – Part 2: Sanitary plumbing and drainage;

AS/NZS 3500.3:2018 Plumbing and drainage – Part 3: Stormwater drainage;

and all subsequent amendments and replacements.

3	Definitions

Industry practice – policies, procedures, and standards that competent practitioners in the drainlaying industry recognise as current industry best practice.

Other needs may include but are not limited to – compliance, commissioning, testing, retentions, equipment, excavation, backfill, site reinstatement, and allowance for additional costs and overheads.

4	Assessment

Assessments requiring application or demonstration of skills and knowledge may be performed using workplace evidence or evidence derived from simulation or scenario-based activities.

Drawings and specifications prepared for Unit 32069, Design foul water drainage systems and Unit 32070, Design stormwater drainage systems may be used for performance criterion 1.1.

5	All tasks must be carried out in accordance with industry practice.

6	Range

Includes a minimum of three jobs;

includes a range of requirements between the jobs which may include but are not limited to – rural and urban; commercial and domestic; foul water and stormwater.

Outcomes and performance criteria

Outcome 1

Cost drainlaying jobs.

Performance criteria

1.1	Analyse the materials, labour, and other needs for the job using drawings and specifications.

Range	may include but is not limited to – type, quantity, and time required.

1.2	Calculate the cost of the materials to be used in the drainage system.

1.3	Calculate the cost of the labour needed for the job.

1.4	Calculate the cost of other needs for the job.

1.5	Calculate the overall cost of the job.

1.6	Prepare schedules of quantities for quoting and tendering purposes.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 26 March 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.