| Title | Cost gasfitting jobs |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 10 |

| Purpose | People credited with this unit standard will be able to cost gasfitting jobs. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Gasfitting |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard builds upon the pre-existing knowledge and skills held by a tradesman gasfitter.  It reflects part of the increased knowledge and skill set that is required to become recognised as a certifying gasfitter.  The competencies expected of a tradesman gasfitter have already been demonstrated and reassessment is not required.

2	References

Building Act 2004;

New Zealand Building Code;

Construction Contracts Act 2002;

Electricity Act 1992;

Gas Act 1992;

Gas (Safety and Measurement) Regulations 2010;

Health Act 1956;

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters and Drainlayers Board (Gasfitting Registration and Licensing) Notice 2016;

Resource Management Act 1991;

The following standards, which are available at http://www.standards.govt.nz:

NZS 3604:2011 Timber-framed buildings;

NZS 4219:2009 Seismic performance of engineering systems in buildings;

AS/NZS 5601.1:2013 Gas installations – Part 1: General installations;

AS/NZS 5601.2:2013 Gas installations – Part 2: LP Gas installations in caravans and boats for non-propulsive purposes;

and all subsequent amendments and replacements.

3	Definitions

Industry practice – policies, procedures, and standards that competent practitioners in the gasfitting industry recognise as current industry best practice.

LPG – liquefied petroleum gas.

Other needs may include but are not limited to – compliance, commissioning, testing, retentions, and allowance for additional costs and overheads.

4	Assessment

Assessments requiring application or demonstration of skills and knowledge may be performed using workplace evidence or evidence derived from simulation or scenario-based activities.

Drawings and specifications prepared for Unit 32073, Design gasfitting installations may be used for performance criterion 1.1.

5	All tasks must be carried out in accordance with industry practice.

6	Range

Includes a minimum of three jobs;

includes a range of requirements between the jobs which may include but are not limited to – domestic, commercial, and industrial; natural gas and LPG; single level and multilevel building.

Outcomes and performance criteria

Outcome 1

Cost gasfitting jobs.

Performance criteria

1.1	Analyse the materials, labour, and other needs for the job using drawings and specifications of the system.

Range	may include but is not limited – type, quantity, and time required.

1.2	Calculate the cost of the materials to be used in the gasfitting system.

1.3	Calculate the cost of the labour needed for the job.

1.4	Calculate the cost of other needs for the job.

1.5	Calculate the overall cost of the job.

1.6	Prepare schedules of quantities for quoting and tendering purposes.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 26 March 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.