| Title | Design an on-site wastewater management system |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 20 |

| Purpose | People credited with this unit standard are able to: determine wastewater volumes, temporal patterns, and characteristics for on-site wastewater land application; select the treatment and land application system for an on-site wastewater management system; configure and size the land application areas for the selected on-site wastewater management system; and complete a report for the design, installation, commissioning, operation and maintenance of the on-site wastewater management system. |
| --- | --- |

| Classification | Water Industry > Wastewater Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and industry standards relevant to this unit standard include but are not limited to the:

- Resource Management Act 1991;

- Building Act 2004 and relevant Building Codes;

- Health Act 1956;

- Historic Places Act 1993, and subsequent amendments and replacements;

- regional and district plans, and regulatory authority requirements;

- AS/NZS 1547:2012 On-site domestic wastewater management;

- AS/NZS ISO 31000:2009 Risk Management – Principles and guidelines;

- SA/SNZ HB 203:2012 Managing environment-related risk; available from http://www.standards.govt.nz.

3	Definition

Industry requirements include manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	It is recommended that the assessor uses design guidelines issued by the regional or local authorities in the candidate’s locality.

5	Assessment

Assessment against Outcome 2 and 3 must be based on data collected from Outcome 1.

Assessment against Outcome 4 must be based on the results of Outcomes 1, 2, and 3.

Evidence of a design for three separate sites is required.

6	Credit for this unit standard does not qualify the candidate to work in a drainlaying situation that comes under the drainlayer’s licence requirements issued under the Plumbers, Gasfitters, and Drainlayers Act 2006 and any subsequent amendments.

Outcomes and performance criteria

Outcome 1

Determine wastewater volumes, temporal patterns, and characteristics for on-site wastewater land application.

Performance criteria

1.1	Average, maximum, and short-term peak flows of wastewater to be managed for the site are determined.

Range	includes but is not limited to – dwelling size, occupancy, water supply, per capita flow allowances, water conservation measures and/or fixtures.

1.2	Wastewater volumes and temporal patterns for an on-site wastewater design are determined in accordance with maximum daily volume of wastewater to be discharged.

1.3	Wastewater characteristics are determined for the site.

Range	wastewater characteristics for treatment stages – raw, primary, secondary, advanced secondary, tertiary, reclaimed or recycled water;

includes but is not limited to concentration of – biochemical oxygen demand (BOD), total suspended solids (TSS), indicator micro-organisms, nutrients, oil and grease.

Outcome 2

Select the treatment and land application system for an on-site wastewater management system.

Range	treatment processes may include – reduction of BOD, TSS, nutrients and indicator micro-organisms via primary, secondary, advanced secondary, and tertiary processes;

land application systems may include – trench systems, beds, mounds, low-pressure effluent distribution, irrigation.

Performance criteria

2.1	Options for treatment processes and land application systems are assessed in terms of suitability.

2.2	A treatment and land application system is selected, consistent with the recommendations of the site and soil evaluation.

Range	client requirements, environmental constraints, setback distances.

2.3	A loading method for gravity or pressure dose distribution is selected, consistent with the selected land application and treatment system.

Outcome 3

Configure and size the land application areas for the selected on-site wastewater management system.

Performance criteria

3.1	Design loading rate (DLR) and design irrigation rate (DIR) are set in accordance with soil category determination based on site and soil characteristics.

Range	soil characteristics include – texture, structure, indicative permeability.

3.2	The land application and reserve areas are sized and configured in accordance with the DLR, DIR and effluent loading method.

3.3	Land application and reserve areas are sited in accordance with regional and district council compliance requirements.

Range	setback distances, site constraints, client requirements, access for operation and maintenance.

3.4	The land application system is optimised for the site in accordance with approved dispersal processes.

Range	approved dispersal processes – evapotranspiration, seepage, in-soil treatment, nutrient uptake.

Outcome 4

Complete a report for the design, installation, commissioning, operation and maintenance of the on-site wastewater management system.

Performance criteria

4.1	A report of the design process is completed in accordance with AS/NZS 1547:2012.

4.2	Plans and specifications for installation of the on-site wastewater management system are described in accordance with AS/NZS 1547:2012 and are consistent with the risk management plan.

4.3	Procedures for commissioning of the on-site wastewater management system are described in accordance with AS/NZS 1547:2012.

4.4	Procedures for operation and maintenance of the on-site wastewater management system are described in accordance with AS/NZS 1547:2012.

| Replacement information | This unit standard replaced unit standard 25128. |
| --- | --- |

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 July 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.