| Title | Prepare a risk management plan for an on-site wastewater management system |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to prepare a risk management plan for an on-site wastewater management system |
| --- | --- |

| Classification | Water Industry > Wastewater Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and industry standards relevant to this unit standard include but are not limited to the:

- Resource Management Act 1991;

- Building Act 2004 and relevant Building Codes;

- Health Act 1956;

- Historic Places Act 1993, and subsequent amendments;

- regional and district plans;

- and regulatory authority requirements;

- AS/NZS 1547:2012 On-site domestic wastewater management;

- AS/NZS ISO 31000:2009 Risk Management – Principles and guidelines available at http://www.standards.co.nz.

3	Definition

Industry requirements include manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	It is recommended that the assessor uses design guidelines issued by the regional or local authorities in the candidate’s locality.

5	Credit for this unit standard does not qualify the candidate to work in a drainlaying situation that comes under the drainlayer’s licence requirements issued under the Plumbers, Gasfitters, and Drainlayers Act 2006 and any subsequent amendments.

Outcomes and performance criteria

Outcome 1

Prepare a risk management plan for an on-site wastewater management system.

Performance criteria

  - Hazards associated with on-site wastewater management systems are identified and assessed.

Range	hazards associated with treatment process and land application system.

  - Potential risk of harm or illness is assessed.

Range	soil and land stability, public health, environment, habitat, cultural values, natural hazards.

  - Mitigation measures to eliminate or minimise health and safety risks are identified.

Range	includes but is not limited to – dwelling size and occupancy limits, water use reduction and recycling, increasing the level of treatment, expanding the lot area.

1.4	Risk management plan is completed in accordance with AS/NZS 1547:2012.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 July 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.