| Title | Review a design for, and inspect, an on-site wastewater management system |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | People credited with this unit standard are able to: review a design for an on-site wastewater management system; and inspect an on-site wastewater management system |
| --- | --- |

| Classification | Water Industry > Wastewater Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and industry standards relevant to this unit standard include but are not limited to the:

- Resource Management Act 1991;

- Building Act 2004 and relevant Building Codes;

- Health Act 1956;

- Historic Places Act 1993, and subsequent amendments;

- regional and district plans;

- regulatory authority requirements;

- AS/NZS 1547:2012 On-site domestic wastewater management available at http://www.standards.co.nz.

3	Definition

Industry requirements include manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	It is recommended that the assessor uses design guidelines issued by the regional or local authorities in the candidate’s locality.

5	Credit for this unit standard does not qualify the candidate to work in a drainlaying situation that comes under the drainlayer’s licence requirements issued under the Plumbers, Gasfitters, and Drainlayers Act 2006 and any subsequent amendments.

Outcomes and performance criteria

Outcome 1

Review a design for an on-site wastewater management system.

Range	evidence of two reviews of other people’s designs is required.

Performance criteria

1.1	A design for an on-site wastewater management system is reviewed for completeness and suitability for the site in accordance with AS/NZS 1547:2012 or relevant guidelines issued by the Regional Council.

1.2	The design is checked for compliance with the provisions of G13 of the Building Code or relevant guidelines issued by the Regional Council.

1.3	The review is documented in the required format.

Outcome 2

Inspect an on-site wastewater management system.

Range	evidence of one inspection is required, during construction just prior to completion.

Performance criteria

2.1	An on-site wastewater management system is inspected for compliance with the approved plans and specifications.

2.2	Variations to the approved plans and specifications are noted in the required format.

Range	variations – minor, significant.

2.3	The as-built plans are reviewed for accuracy and completeness in accordance with AS/NZS 1547:2012.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 July 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.