| Title | Joint copper pilot power cables |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | People credited with this unit standard are able to joint copper pilot power cables. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Distribution Networks |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of the Health and Safety at Work Act 2015; Electricity Act 1992; Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) available from www.eea.co.nz.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Outcome and performance criteria

Joint copper pilot power cables.

Range	plastic sheathed cables with plastic insulation (minimum of seven pair) and lead sheathed cables with paper insulation;

evidence of three joints is required.

Performance criteria

1.1	Asset owner’s cable plans, drawings and schematics are interpreted, and cables to be worked on are identified.

1.2	Jointing materials and tools are drawn from stock or purchased in accordance with job specifications and instructions and assembled on site.

1.3	Site is prepared for jointing.

1.4	Cables are stripped and prepared for jointing.

1.5	Conductors are identified and jointed.

Range	manual jointing with appropriate jointing tool or soldering.

1.6	Screen continuity is established.

1.7	Work is completed to asset owner’s standards and all documentation is submitted in the required format.

1.8	Site is reinstated to customer’s or asset owner’s expectations.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 27 August 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation at qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.