| Title | Carry out a site and soil evaluation for an on-site wastewater management system |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 15 |

| Purpose | People credited with this unit standard are able to carry out a site and soil evaluation for an on-site wastewater management system. |
| --- | --- |

| Classification | Water Industry > Wastewater Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and standards relevant to this unit standard include but are not limited to the:

- Resource Management Act 1991;

- Building Act 2004;

- Health Act 1956, and subsequent amendments;

- Local Government Act 2002;

- Historic Places Act 1993, and subsequent amendments;

- regional and district plans;

- regulatory authority requirements;

- AS/NZS 1547:2012 On-site domestic wastewater management, available from http://www.standards.govt.nz.

3	Definition

Industry requirements include manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	It is recommended that the assessor uses design guidelines issued by the regional or local authorities in the candidate’s locality.

5	Credit for this unit standard does not qualify the candidate to work in a drainlaying situation that comes under the drainlayer’s licence requirements issued under the Plumbers, Gasfitters, and Drainlayers Act 2006 and any subsequent amendments.

Outcomes and performance criteria

Outcome 1

Carry out a site and soil evaluation for an on-site wastewater management system.

Performance criteria

1.1	Information from reference material and client consultation is evaluated and the client brief is confirmed.

Range	information must include but is not limited to – regional or unitary plan, district planning regulations, technical and engineering information, site compliance requirements, environmental information.

1.2	The surface of the site is evaluated to determine characteristics influencing the on-site wastewater land application.

Range	vegetation cover, slope, surface water, clearances, utility services.

- 1.3	Potential constraints and separation distances on the site are identified to determine exclusion areas and expected available area for a land application system.

Range	includes but is not limited to – property boundary, surrounding environment, surface water, groundwater wells or bores, dwellings, access ways, impervious areas, soak holes, stormwater disposal systems, recreational facilities.

1.4	Effluent discharge within the property is described in terms of the potential effects.

Range	includes but is not limited to effects on – public health, surface water, biochemical oxygen demand, downstream hydrologic catchment through run-off, neighbouring properties, groundwater.

1.5	The subsurface of the site is evaluated to determine characteristics influencing the on-site wastewater land application.

Range	includes but is not limited to – soil categories, limitations, influencing factors for example earthworks, suitability of fill, risks associated with groundwater.

1.6	Site and soil evaluation report and site assessment plans are completed in accordance with AS/NZS 1547:2012.

| Replacement information | This unit standard replaced unit standard 25127. |
| --- | --- |

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 July 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.