| Title | Demonstrate knowledge of hydraulic systems in a wind turbine |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | People who achieve this unit standard will be able to demonstrate knowledge of hydraulic systems in a wind turbine. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Power System Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of the Health and Safety at Work Act 2015; Electricity Act 1992; Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (2015) available from www.eea.co.nz.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of hydraulic systems in a wind turbine.

Performance criteria

  - The principles of hydraulics are explained in terms of pressure, forces, and stored energy.

1.2	Pumps used in a wind turbine are described in terms of their function and characteristics.

Range	includes – operating pressures, pump efficiency, motor power, flow rates.

1.3	Actuators used in a wind turbine are described in terms of their type and function.

Range	includes – positive and negative piston movement, regenerative operation, seals, modes of failure.

1.4	Valves used in a wind turbine are described in terms of their type and function.

Range	includes – needle valves, seated valves, check valves, ball valves, directional valves, proportional valves, pilot operation, pressure relief valves, pressure reducing valves, test points, restrictors.

1.5	Accumulators used in a wind turbine are described in terms of their type and function.

Range	includes – diaphragm accumulators, bladder accumulators, piston accumulators, pre-charge pressure, operational pressure, stored energy.

1.6	Sensors used in a wind turbine are described in terms of their type and function.

Range	includes – pressure transducers, temperature transducers, level sensors.

1.7	The components that transfer oil are identified, and safe handling procedures are described.

Range	components include – hoses, seals, fittings, tank, filters;

safe handling procedures include – the importance of oil cleanliness, oil sampling.

1.8	Components are identified on a hydraulic diagram for a wind turbine.

1.9	The hazards of hydraulic systems are explained.

Range	includes – crush injury, hydraulic injection injury, fire, toxic substances.

1.10	The method and instruments to measure pressure are described.

Range	includes – pressure transducers, manometers, test points.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 29 April 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation at qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.