| Title | Demonstrate knowledge of installing exterior joinery |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 2 |

| Purpose | People credited with this standard can: - demonstrate knowledge of installing exterior joinery; and - demonstrate knowledge of health and safety for installing exterior joinery. |
| --- | --- |

| Classification | Construction Trades > Carpentry |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Range

Evidence generated for assessment against this standard must reflect workplace and industry requirements specified in:

- documented worksite specifications, procedures, and practices;

- manufacturer recommendations, specifications, and technical data sheets;

- applicable specifications from other sources such as an architect, designer, engineer, or supervisor;

- applicable material safety data sheets;

- NZS 3604:2011 Timber Framed Buildings;

- Acceptable Solution E2/AS1 for Clause E2 External Moisture and E3 Internal Moisture;

- Guide to Window Installation (as described in E2/AS1 Amendment 8);

- the New Zealand Building Code.

Evidence generated for assessment against this standard must reflect the requirements of:

- Building Act 2004

- Health and Safety at Work Act 2015

- Resource Management Act 1991

- Building Regulations 1992

- Building (Forms) Regulations 2004

- Health and Safety in Employment Regulations 1995.

2	References

The New Zealand Building Code.  (Building Act 2004).  Acceptable Solution E2/AS1 for Clause E2 External Moisture and E3 Internal Moisture.  Available from https://www.building.govt.nz/building-code-compliance/e-moisture/e2-external-moisture/ and https://www.building.govt.nz/building-code-compliance/e-moisture/e3-internal-moisture.

NZS 3604:2011 Timber Framed Buildings, available from Standards NZ (http://www.standards.co.nz).

Window & Glass Association of New Zealand (2019), Guide to Window Installation (as described in E2/AS1 Amendment 8).  Available from https://www.wganz.nz/.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of installing exterior joinery.

Performance criteria

1.1	Identify components of exterior windows and doors and describe their purpose.

Range	jambs, sills, heads, mullions, transom, sashes.

1.2	Describe weatherproofing and installation principles for exterior aluminium windows and doors.

1.3	Describe how to provide temporary protection for exterior joinery.

Outcome 2

Demonstrate knowledge of health and safety for installing exterior joinery.

Range	labour, identification of hazards and controls, plant;

plant includes – any machinery, vehicle, vessel, aircraft, equipment (including personal protective equipment), appliance, container, implement, or tool; any component of any of those things; anything fitted or connected to any of those things;

personal protective equipment includes – anything used or worn by a person (including clothing) to minimise risks to the person’s health and safety; air supplied respiratory equipment.

Performance criteria

2.1	Identify and describe health and safety requirements for installing exterior joinery.

| Replacement information | This unit standard and unit standard 32446 replaced unit standard 24385. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 30 September 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Building and Construction Industry Training Organisation at national.office@bcito.org.nz if you wish to suggest changes to the content of this unit standard.