| Title | Demonstrate knowledge of heat recovery principles |  |  |
| --- | --- | --- | --- |
| Level | 2 | Credits | 2 |

| Purpose | People credited with this unit standard are able to: describe heat recovery ventilation principles as they relate to human comfort; and demonstrate knowledge of heat recovery air conditioning principles as they relate to energy efficiency. |
| --- | --- |

| Classification | Mechanical Engineering > Refrigeration and Air Conditioning |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Legislation and standards relevant to this unit standard:

Building Act 2004;

Climate Change Response Act 2002;

Electricity Act 1992;

Electricity Amendment Act 1997;

Electricity (Safety) Regulations 2010;

Hazardous Substances and New Organisms Amendment Act 2015;

Health and Safety at Work Act 2015;

Ozone Layer Protection Act 1996;

AS/NZS 5149:2016, Refrigerating systems and heat pumps parts 1:5 Refrigerating systems and heat pumps – Safety and environmental requirements;

AS/NZS ISO 817:2016 Refrigerants – Designation and safety classification;

and any subsequent amendments.

- References

ASHRAE, 2017 ASHRAE Handbook - Fundamentals;

AS 1668.2-2002, The use of ventilation and air-conditioning in buildings. Part 2 Ventilation design for indoor air contaminant control;

EECA, Good practice guide – Heat pump installation (2020);

BSRIA AG 1/2001.1, Pre-commission Cleaning of Pipework Systems, (4th ed);

BSRIA BG 49/2015 3/89.3, Commissioning air systems – Application procedures for buildings;

CIBSE, Commissioning Code Series A - Air Distribution Systems (1996);

CIBSE, Commissioning Code Series C - Automatic Controls (2001);

CIBSE, Commissioning Code Series R - Refrigeration Systems (2002);

HVAC Guide DCP DW/143 Heating & Ventilating Contractors Association (UK), Guide to good practice ductwork leakage testing. 6th edition.

- Definitions

Approved industry practices refer to approved codes of practice and standardised procedures accepted by the wider refrigeration and air conditioning industry sectors as examples of best practice.

ASHRAE refers to American Society of Heating, Refrigerating and Air-Conditioning Engineers.

BSRIA refers to Building Services Research and Information Association.

CIBSE refers to Chartered Institution of Building Services Engineers – UK.

EECA refers to Energy Efficiency and Conservation Authority.

Worksite procedures refer to documented procedures used by the organisation carrying out the work and applicable to the tasks being carried out.  They may include but are not limited to – standard operating procedures, site safety procedures, equipment operating procedures, codes of practice, quality assurance procedures, housekeeping standards, procedures to comply with legislative and local body requirements.

- Assessment information

All activities and evidence must be in accordance with worksite procedures and approved industry practices.

Outcomes and performance criteria

Outcome 1

Describe heat recovery ventilation principles as they relate to human comfort.

Performance criteria

  - The effects of air movement, air change rates and environments on human comfort are described.

1.2	Relationship between radiant energy and air temperature is described.

1.3	Effects of air stratification and equipment location are described.

1.4	Effects of low and high humidity are described.

Outcome 2

Demonstrate knowledge of heat recovery air conditioning principles as they relate to energy efficiency.

Performance criteria

2.1	The effects on efficiency of an incorrectly powered (kilowatt) air conditioning unit are described.

2.2	Heat recovery system efficiency is described.

2.3	Briefly describe energy efficiency features.

2.4	Maintenance checks to maintain energy efficiency are explained.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 26 August 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0013 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Competenz qualifications@competenz.org.nz if you wish to suggest changes to the content of this unit standard.