| Title | Demonstrate knowledge of insulation products |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 4 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of insulation products. |
| --- | --- |

| Classification | Construction Trades > Carpentry |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Legislation and regulations relevant to this unit standard include:

- Health and Safety at Work Act 2015

- Resource Management Act 1991

- Hazardous Substances and New Organisms Act 1996

- Consumer Guarantees Act 1993

- Building Act 2004

- New Zealand Building Code: Clause H1 Energy Efficiency.

New Zealand Standards relevant to this unit standard include:

- NZS 4246:2016 Installing Insulation in Residential Buildings

- NZS 3604:2011 Timber framed buildings

- NZS 4218:2009 Energy Efficiently Housing and small buildings

- NZS 4243:1996 Energy Efficiency – Large Buildings Part: Building Thermal Envelope.

Code of Practice relevant to this unit standard:

- NZECP 55:2016 New Zealand Code of Practice for Managing Electrical Risks Associated with Electrically Conductive Thermal Insulation.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of insulation products.

Range	includes but is not limited to – blown or sprayed; hempcrete; cellular glass; glass mineral wool; rock mineral wool; icynene; phenolic foam; polyisocyanurate or polystruene; extruded polyurethane; expanded polyurethane foam; wool; hemp; straw; aerogel.

Performance criteria

  - Describe the properties of insulation products.

Range	properties include – heat loss, thermal resistance, conduction, convection, energy efficiency, fire resistance.

1.2	Describe the use of insulation in terms of where it is used in a building and why.

Range	types of insulation used for wall, ceiling, and underfloor insulation, midfloor, acoustic and ground vapour barriers.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 24 June 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Building and Construction Industry Training Organisation national.office@bcito.org.nz if you wish to suggest changes to the content of this unit standard.