| Title | Demonstrate knowledge for working safely in the electrical industry |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 6 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of: – legislative requirements for working safely in the electrical industry; – workplace dangers, hazards, risk, and its control; and – testing for voltage and isolating circuits. |
| --- | --- |

| Classification | Electrical Engineering > Core Electrical |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

AS/NZS 3000 (version as cited in the Electricity (Safety) Regulations), Electrical Installations (known as the Australian/New Zealand Wiring Rules);

AS/NZS 4836:2011, Safe working on or near low-voltage electrical installations and equipment;

AS/NZS 60479.1:2010, Effects of current on human beings and livestock - General aspects;

Electricity (Safety) Regulations 2010;

EWRB Supervision Guidelines, available at https://www.ewrb.govt.nz;

Health and Safety at Work Act 2015;

or any current subsequent amendments and replacements.

2	This unit standard and unit standards 6401, 6402, and 32607 together meet the EWRB Safety Training requirements for a Trainee Limited Certificate.

3	This unit standard can be used together with other relevant unit standards, additional learning and workplace training to meet the requirements of the EWRB core competencies, available at https://www.ewrb.govt.nz.

4	Definitions

AC – alternating current.

DC – direct current.

EWRB – Electrical Workers Registration Board.

JSA – Job Safety Analysis.

PPE – personal protective equipment.

SWMS – Safe Work Method Statements.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of legislative requirements for working safely in the electrical industry.

Performance criteria

1.1	Identify the purpose of the Health and Safety at Work Act.

1.2	Define key terms according to the Health and Safety at Work Act.

Range	at least three terms.

1.3	Define Health and Safety duties according to the Health and Safety at Work Act.

Range	at least three duties.

1.4	Outline requirements for working safely in the electrical industry according to the Electricity (Safety) Regulations and AS/NZS 4836.

1.5	Define terms used in the electrical industry and their relevance to electrical workers.

Range	terms must include but are not limited to – Trainee Limited Certificate (TLC), prescribed electrical work (PEW), limits of work, supervision for electrical workers.

Outcome 2

Demonstrate knowledge of workplace dangers, hazards, risk, and its control.

Performance criteria

2.1	Explain the dangers of electricity, the physiological effects of current on humans.

2.2	Explain the dangers, precautions, and a safe procedure for rescuing someone in contact with electricity.

2.3	Explain the dangers and appropriate control measures for hazards within workplace situations.

Range	evidence of two situations with three hazards per situation.

2.4	Describe typical work site health and safety procedures.

Range	two procedures;

may include but is not limited to – site inductions, accident and incident reporting, emergency, and notifiable event procedures.

2.5	Describe the requirements to be completed in a risk management form.

Range	one from SWMS, JSA, alternative system.

Outcome 3

Demonstrate knowledge of testing for voltage and isolating circuits.

Performance criteria

3.1	Explain how to store and check a multimeter before use.

3.2	Describe the procedures for the safe use of a voltmeter.

Range	must include – identifying live AC and DC supplies, testing for voltage, testing to confirm circuit isolation.

3.3	Outline a procedure for safely re-livening simple circuits.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 24 March 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihanga.nz if you wish to suggest changes to the content of this unit standard.