| Title | Demonstrate knowledge of voltage, power and energy, and DC circuits |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 6 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of: – voltage, power and energy; and – DC circuits. |
| --- | --- |

| Classification | Electrical Engineering > Core Electrical |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Unit standard or equivalent prior knowledge and skills recommended:

Unit 32609, Demonstrate knowledge of mathematical principles, conductors and insulators.

2	Definition

DC – direct current.

3	Where needed, sketches and drawings may be used to aid explanations.

4	This unit standard can be used together with other relevant unit standards, additional learning and workplace training to meet the requirements of the Electrical Workers Registration Board (EWRB) core competencies, available at https://www.ewrb.govt.nz.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of voltage, power, and energy.

Performance criteria

1.1	State Ohm’s law and the formulae associated with it.

Range	V = I × R, I = V ÷ R, R = V ÷ I.

1.2	State the formulae for power.

Range	P = V2 ÷ R, P = I2 × R, P = V × I.

1.3	Explain the relationship between power and energy.

1.4	Calculate electrical values with given parameters.

Range	current, voltage, resistance, power, energy.

1.5	Calculate resistance, voltage, current and power and compare with measured values.

Range	parallel, series, series-parallel.

Outcome 2

Demonstrate knowledge of DC circuits.

Performance criteria

2.1	Explain the purpose and configuration of electric circuit components.

Range	conductors, switches, protection, load.

2.2	Describe how to connect instruments into a circuit to take electrical measurements.

Range	two different instrument connections;

measurements may include – voltage, resistance, current, power.

2.3	Explain the operation and characteristics of DC circuits.

Range	parallel, series, series-parallel.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 24 March 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihanga.nz if you wish to suggest changes to the content of this unit standard.