| Title | Use fault finding and fault rectification techniques on electrical installations |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | People credited with this unit standard are able to use fault finding and fault rectification techniques on electrical installations. |
| --- | --- |

| Classification | Electrical Engineering > Electrical Installation and Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment on-job.

2	Unit standard or equivalent prior knowledge and skills recommended:

Unit 32624, Demonstrate knowledge of electrical installation testing, fault finding, and rectification of discovered faults.

3	Definitions

Safe and sound practice – as it relates to the installation of electrical equipment is defined in AS/NZS 3000.

Stakeholders – refers to clients, installation owners, management, public, other trades people on site, candidate’s work team, and any other people affected by work on site and/or the outcome of that work.

4	References

AS/NZS 3000 (version as cited in the Electricity (Safety) Regulations), Electrical Installations (known as the Australian/New Zealand Wiring Rules);

AS/NZS 4836:2011, Safe working on or near low-voltage electrical installations and equipment;

Electricity (Safety) Regulations 2010;

or any current subsequent amended or replacement versions.

5	This unit standard can be used together with other relevant unit standards, additional learning and workplace training to meet the requirements of the Electrical Workers Registration Board (EWRB) core competencies, available at https://www.ewrb.govt.nz.

6	This unit standard applies to installations and equipment rated above extra-low voltage unless specifically stated.

7	Range

a	Candidates may refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation;

ii	policies and procedures;

iii	ethical codes;

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010;

v	applicable site, enterprise, and industry practice; and

vi	where appropriate, manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Use fault finding and fault rectification techniques on electrical installations.

Range	three different faults.

Performance criteria

1.1	Communicate with stakeholder(s) to establish and meet job requirements.

1.2	Use safe fault finding techniques to identify faults in electrical installations.

1.3	Repair faults and test for correct function.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 24 March 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihanga.nz if you wish to suggest changes to the content of this unit standard.