| Title | Install mains and submains cables |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | People credited with this unit standard are able to install mains and submains cables. |
| --- | --- |

| Classification | Electrical Engineering > Electrical Installation and Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment on-job.

2	Unit standards or equivalent prior knowledge and skills recommended:

Unit 32631, Install, join, and terminate cables;

Unit 32639, Demonstrate knowledge of cable selection, underground cable systems, and specialised cables.

3	Definition

Safe and sound practice – as it relates to the installation of electrical equipment is defined in AS/NZS 3000.

4	References

AS/NZS 3000 (version as cited in the Electricity (Safety) Regulations), Electrical Installations (known as the Australian/New Zealand Wiring Rules);

AS/NZS 3008.1.2:2017, Electrical installations - Selection of cables (Cables for alternating voltages up to and including 0.6/1 kV - Typical New Zealand conditions);

AS/NZS 4836:2011, Safe working on or near low-voltage electrical installations and equipment;

Electricity (Safety) Regulations 2010;

or any current subsequent amended or replacement versions.

5	This unit standard can be used together with other relevant unit standards, additional learning and workplace training to meet the requirements of the Electrical Workers Registration Board (EWRB) core competencies, available at https://www.ewrb.govt.nz.

6	This unit standard applies to installations and equipment rated above extra-low voltage unless specifically stated.

7	Range

a	Candidates may refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation;

ii	policies and procedures;

iii	ethical codes;

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010;

v	applicable site, enterprise, and industry practice; and,

vi	where appropriate, manufacturers’ instructions, specifications, and data sheets.

8	Candidates are expected to locate and reference the relevant clauses in the Standards that relate to the electrical work being undertaken.

Outcomes and performance criteria

Outcome 1

Install mains and submains cables.

Performance criteria

1.1	Communicate with stakeholders to establish and meet installation requirements.

1.2	Select and install mains and submains cables to comply with AS/NZS 3000.

Range	one mains, one submain.

1.3	Install and test a submain earthing system to an outbuilding.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 24 March 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihanga.nz if you wish to suggest changes to the content of this unit standard.