| Title | Suppress fire using hand extinguishers and fixed hose reels |  |  |
| --- | --- | --- | --- |
| Level | 2 | Credits | 1 |

| Purpose | People credited with this unit standard are able to: - demonstrate knowledge of the fire classes and fire suppression techniques; and - select and use hand extinguisher and fixed hose reels to suppress the fire. |
| --- | --- |

| Classification | Community and Workplace Fire and Emergency Management > Workplace Fire and Emergency Response |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Compliance with the fire and emergency agency’s Health and Safety policy and procedures is mandatory.

2	Assessment against this unit standard must take place under real or simulated conditions involving live fire.

3	This unit standard sets out the skills and knowledge required for the use of water, foam, carbon dioxide, dry powder and vaporising liquid extinguishers, fixed hose reels, and fire blankets.

4	Reference for this unit standard is: AS/NZS 1850:2009 Portable fire extinguishers - Classification, rating and performance testing available at https://www.standards.govt.nz.

5	Definition

Fire and emergency agency’s requirements refer to policies, procedures, and supporting documentation on safety and operation set down by each fire and emergency agency employer or host organisation.

6	Assessment against all outcomes must be in accordance with fire and emergency agency’s requirements.

Outcomes and performance criteria

Outcome 1

- Demonstrate knowledge of the fire classes and fire suppression techniques.

Performance criteria

  - Basic principles of fire suppression are identified in terms of cooling, smothering, and removal of fuel.

Range	at least three given situations.

1.2	Fire classes A, B, C, D, E, and F are identified in relation to fuels found in the person’s own living and working environment.

1.3	Suppression techniques are identified and associated with the safe suppression of fire classes A, B, C, D, E, and F.

1.4	Extinguisher types are matched with fire classes in accordance with manufacturer’s instructions.

1.5	The use of fire blankets and their limitations are explained in accordance with manufacturer’s instruction manuals.

Outcome 2

Select and use hand extinguisher and fixed hose reels to suppress the fire.

Performance criteria

2.1	Fire is assessed with due consideration of the risk to people, property, and the possible consequences of using a hand extinguisher.

Range	fire size, fuel type, availability of extinguisher to suit the fire class, safe exit path.

2.2	Safety actions are taken in terms of the removal of people in immediate danger, alerting the occupants of the building, and the notification of emergency services.

2.3	Extinguishing media is applied to the fire as directed for the fire class, and manufacturer’s requirements.

Range	water by fixed hose reels;

any one hand extinguisher from – carbon dioxide, dry powder, foam.

2.4	Effect of the application is monitored and action taken to continue extinguishing action or seek outside assistance.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 1995 | 31 December 2023 |
| Review | 2 | 27 May 1998 | 31 December 2023 |
| Revision | 3 | 2 August 1999 | 31 December 2023 |
| Review | 4 | 25 March 2004 | 31 December 2023 |
| Rollover | 5 | 22 August 2008 | 31 December 2023 |
| Review | 6 | 20 November 2009 | 31 December 2023 |
| Review | 7 | 30 September 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0039 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.