| Title | Demonstrate knowledge of small wastewater systems |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | People credited with this unit standard are able to, for small wastewater systems, demonstrate knowledge of: wastewater treatment processes; the components used for distribution of treated wastewater; and monitoring and recording procedures. |
| --- | --- |

| Classification | Water Industry > Wastewater Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation relevant to this unit standard includes: Health and Safety at Work Act 2015, Water Services Act 2021, Hazardous Substances and New Organisations Act 1996, Health and Safety at Work (Hazardous Substances) Regulations 2017, and subsequent amendments.

3	Definitions

Industry requirements include manufacturers’ specifications; and enterprise requirements which may include documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Small wastewater system refers to a system treating wastewater from 50 up to 500 people, and which includes collection, treatment, and discharge.

4	Learning and assessment activities for this unit standard must be informed by Te Mana o te Wai (refer to Taumata Arowai) and the National Policy Statement for Freshwater Management 2020 available at https://environment.govt.nz/.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of wastewater treatment processes for small wastewater systems.

Performance criteria

- 1.1	Wastewater treatment processes and water quality parameters are described in terms of inter-relationship, barriers to contamination and suitability of treatment process.

- 1.2	Wastewater treatment settlement processes are described in terms of their effect on contaminant removal.

- 1.3	Wastewater treatment filtration processes are described in terms of their effect on particulate removal, maintenance, and operating cost.

- 1.4	Wastewater treatment disinfection processes are described in terms of their effect on microbiological contaminants, the dose rates required, maintenance, and operating cost.

- 1.5	Wastewater treatment pH control processes are described in terms of their aesthetic impact, impact on disinfection, and corrosion control.

Outcome 2

Demonstrate knowledge of the components used for distribution of treated wastewater in small wastewater systems.

Range	tanks, pipes, pumps, valves, backflow preventers, meters.

Performance criteria

- 2.1	Components used in distribution are described in terms of their purpose and function.

- 2.2	Hygienic methods of installation and maintenance are described for each component.

- 2.3	Preventative maintenance requirements are identified and their purpose explained for each component.

Outcome 3

Demonstrate knowledge of monitoring and recording procedures for small wastewater systems.

Performance criteria

- 3.1	Frequency of and reasons for monitoring of treated wastewater are explained.

- 3.2	Sampling results are compared to organisational and compliance requirements.

- 3.3	Maintenance of wastewater monitoring records is described.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 24 February 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihanga.nz if you wish to suggest changes to the content of this unit standard.