| Title | Operate and maintain a small wastewater system |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 8 |

| Purpose | People credited with this unit standard are able to operate and maintain a small wastewater system. |
| --- | --- |

| Classification | Water Industry > Wastewater Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent

with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation relevant to this unit standard includes: Health and Safety at Work Act 2015, Water Services Act 2021, Hazardous Substances and New Organisms Act 1996, Health and Safety at Work (Hazardous Substances) Regulations 2017, and subsequent amendments.

3	Definitions

Industry requirements include manufacturers’ specifications; and enterprise requirements which may include documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Small wastewater system refers to a system treating wastewater from 50 to 500 people, and which includes collection, treatment, and discharge.

4	Learning and assessment activities for this unit standard must be informed by Te Mana o te Wai (refer to Taumata Arowai) and the National Policy Statement for Freshwater Management 2020, available at environment.govt.nz.

Outcomes and performance criteria

Outcome 1

Operate a small wastewater system.

Performance criteria

  - Discharge conditions that apply to the small wastewater system are identified, and their purposes and contents are outlined.

  - Treatment processes are carried out and adjusted in response to monitoring.

Range	may include – weather forecast, consumer demand, catchment monitoring, target levels.

  - Plant and equipment are operated.

  - Operational costs are identified and their relevance to budgeting and scheduling of maintenance is explained.

  - Records are maintained and stored.

Outcome 2

Maintain a small wastewater system.

Performance criteria

2.1	Planned maintenance is carried out and recorded.

2.2	Actions for maintaining the wastewater treatment process to a required level during planned maintenance are carried out.

2.3	Reactive maintenance is carried out and recorded.

Range	equipment failure or process failure.

2.4	Any required consumables are checked and ordered.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 24 February 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihanga.nz if you wish to suggest changes to the content of this unit standard.