| Title | Glaze a security glass system |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 2 |

| Purpose | A person credited with this standard can: - explain performance and compliance requirements for glazing security glass systems; - prepare to glaze a security glass system; - glaze a security glass system; and - complete cleaning and storage requirements. |
| --- | --- |

| Classification | Construction Trades > Glazing |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Assessment

This unit standard must be assessed under the supervision of a commercially competent glazing practitioner in workplace conditions that reflect:

- current health, safety, industry, and workplace requirements; and

- industry requirements for commercially acceptable timeframes.

Evidence generated for assessment against this standard must be verified by a person who has current expertise in the glazing trades and has had the opportunity to regularly observe the candidate in the workplace.

2	Installations must be completed without injury to personnel or damage to products and equipment.  Personal protective equipment must be used to meet regulatory and worksite requirements.

3	Definitions

Personal protective equipment includes – anything used or worn by a person (including clothing) to minimise risks to the person’s health and safety.

Worksite requirements refer to instructions to staff on policy and procedures which are documented in manual format and are available in the workplace.  These requirements include – company specifications and procedures, work instructions, manufacturer’s specifications, product quality specifications, legislative requirements.

4	Evidence generated for assessment against this standard must reflect the best practice guidelines and principles specified in:

- NZS 4223.3:2016. Glazing in buildings – Part 3: Human impact safety requirements;

- ASTM F1233-21 Standard Test Method for Security Glazing Materials and Systems; https://www.astm.org/f1233-21.html;

- BS EN 356:2000 Glass in building. Security glazing. Testing and classification of resistance against manual attack;

- NZS 3604:2011 Timber-framed buildings.

AS/NZS and NZS standards are available at http://www.standards.govt.nz.

Outcomes and performance criteria

Outcome 1

Explain performance and compliance requirements for glazing security glass systems.

Performance criteria

1.1	Explain the performance requirements for security glass systems.

Range	situation, intruder resistance, bullet resistance, extreme weather event resistance, visual control, containment and safety of occupants, spalling.

1.2	Explain the compliance requirements for security glass systems.

Range	testing protocols, security standards.

Outcome 2

Prepare to glaze a security glass system.

Performance criteria

2.1	Confirm the design requirements and job specifications before work begins.

Range	specification, design details, glass selection, dimensions, architectural drawings, product information, sealant, and fixing selection, site operational procedures.

2.2	Check and gather equipment, tools, and installation materials before work begins.

2.3	Undertake a site check for the installation.

Range	measurements, frame and security system compatibility, site floor levels and allowance for floor finishes, suitability and location of fixing provisions, surrounds are plumb and/or level, installation hazards or problems.

2.4	Plan the installation.

Range	cost, time, working drawings, engineering requirements, availability of materials, access, site requirements, adherence to testing specification.

Outcome 3

Glaze a security glass system.

Performance criteria

3.1	Confirm the glass and glazing components meet the design requirements and job specifications.

Range	glass, sealant, tapes, glazing wedge, blocks.

3.2	Glaze security systems to meet a job specification.

Range	remove beads around opening, place setting blocks, tape rebate, position glass, fit tapes, fix beads, seal perimeter.

3.3	Provide information to the customer about relevant warranty and maintenance requirements.

Outcome 4

Complete cleaning and storage requirements.

Performance criteria

4.1	Clean and store tools and plant used to glaze a security glass system.

Range	plant may include – any machinery, vehicle, equipment (including personal protective equipment) used in a glazing operation.

4.2	Clean the security glass and clear and clean the work area.

| Replacement information | This unit standard and unit standard 33083 replaced unit standard 28763. |
| --- | --- |

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 24 November 2022 | 31 December 2025 |
| Review | 2 | 28 November 2024 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.