| Title | Check hydrants and water supplies |  |  |
| --- | --- | --- | --- |
| Level | 2 | Credits | 3 |

| Purpose | People credited with this unit standard are able to: demonstrate knowledge of requirements relating to the checking of hydrants and water supplies; locate hydrants and carry out inspections; and carry out flow tests and complete reports. |
| --- | --- |

| Classification | Fire and Rescue Services > Fire and Rescue Services - Structural and Industrial |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Compliance with the fire and rescue service provider’s Health and Safety policy and procedures is mandatory.

2	Assessment against this unit standard must be by practical on-site demonstration of the equipment involved.

3	Definition

Fire and rescue service provider’s requirements refer to policies and procedures on safety and operation set down by each fire and rescue service employer or host organisation.

4	Legislation and standards relevant to this unit standard include the Fire Service Act 1975, and NZS 4510:2008 Fire hydrant systems for buildings.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of requirements relating to the checking of hydrants and water supplies.

Performance criteria

1.1	Requirements of the Fire Service Act 1975 are explained in terms of the inspection of hydrants and water supplies.

1.2	The inspection of hydrants and water supplies is explained in accordance with the fire and rescue service provider’s requirements.

1.3	Testing techniques and equipment for carrying out flow tests are described in accordance with the fire and rescue service provider’s requirements.

Range	flow testing, comprehensive flow testing.

Outcome 2

Locate hydrants and carry out inspections.

Performance criteria

2.1	Interpretation of road markings and maps allows hydrants to be located.

Range	identifying hydrants on water maps, street location.

2.2	Hydrants are identified by type.

2.3	The physical condition of hydrants and their surrounds are assessed in order to address possible faults that require further action in accordance with the fire and rescue service provider’s requirements.

Outcome 3

Carry out flow tests and complete reports.

Performance criteria

3.1	Flow and pressure tests are carried out in accordance with the fire and rescue service provider’s requirements.

3.2	Total reticulated water supplies flows and pressures are calculated and expressed in accordance with the fire and rescue service provider’s requirements.

3.3	Hydrant faults, and the results of flow tests, are reported in accordance with the fire and rescue service provider’s requirements.

Range	mains capacity, mains flow, appropriate notifications.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 1995 | 31 December 2025 |
| Review | 2 | 27 May 1998 | 31 December 2025 |
| Review | 3 | 25 March 2004 | 31 December 2025 |
| Review | 4 | 20 November 2009 | 31 December 2025 |
| Review | 5 | 30 September 2021 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0039 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.