| Title | Service breathing apparatus equipment |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 7 |

| Purpose | This unit standard is for breathing apparatus (BA) technicians of fire and rescue service providers. It does not apply to the recommissioning of BA equipment. People credited with this unit standard are able to: interpret user-reported problems with BA equipment; test the BA equipment; service the BA equipment; and carry out recording duties. |
| --- | --- |

| Classification | Fire and Rescue Services > Fire and Rescue Services - Structural and Industrial |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Compliance with the fire and rescue service provider’s Health and Safety policy and procedures is mandatory.

2	Definition

Fire and rescue service provider’s requirements refer to policies and procedures on safety and operation set down by each fire and rescue service employer or host organisation.

3	Assessment against this unit standard may take place under real or practical simulated conditions.

Outcomes and performance criteria

Outcome 1

Interpret user-reported problems with BA equipment.

Performance criteria

1.1	Interpretation of user-reported problems allows remedial action to be taken in accordance with the fire and rescue service provider’s requirements.

Outcome 2

Test the BA equipment.

Performance criteria

2.1	Tests are applied in accordance with manufacturer's specifications and instructions.

Range	full annual tests, tests of specified faulty components.

2.2	Tests are applied systematically and allow reported faults to be found in accordance with manufacturer's specifications and instructions.

2.3	Faults are identified in accordance with manufacturer's specifications and instructions.

Outcome 3

Service the BA equipment.

Performance criteria

3.1	Components are replaced, repaired and adjusted in accordance with manufacturer's specifications.

3.2	Faults are rectified in accordance with manufacturer's specifications.

Outcome 4

Carry out recording duties.

Performance criteria

4.1	Documentation is completed in accordance with the fire and rescue service provider’s requirements.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 1995 | 31 December 2025 |
| Revision | 2 | 21 May 1998 | 31 December 2025 |
| Review | 3 | 25 March 2004 | 31 December 2025 |
| Review | 4 | 20 November 2009 | 31 December 2025 |
| Review | 5 | 30 September 2021 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0039 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.