| Title | Carry out a water measurement telemetry system installation and commission |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 5 |

| Purpose | This unit standard is for people who are responsible for the installation and commission of water measurement telemetry systems required for water permit holders to meet their obligations. People credited with this unit standard are able to: select a water measurement telemetry system; prepare for and carry out installation of a selected water measurement telemetry system; and commission the water measurement telemetry system and complete reporting requirements. |
| --- | --- |

| Classification | Water Industry > Irrigation |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation, regulations, and the policy statement relevant to this unit standard include but are not limited to:

- Building Act 2004;

- Health and Safety at Work Act 2015;

- Resource Management Act 1991;

- Natural and Built Environment Act 2023 section 37 Relationship with RMA national direction (2)(c);

- Electricity (Safety) Regulations 2010;

- Resource Management (Measurement and Reporting of Water Takes) Regulations 2010;

- Resource Management (Measurement and Reporting of Water Takes) Amendment Regulations 2020;

- National Policy Statement for Freshwater Management 2020;

- Radiocommunications Regulations 2001;

- Local bylaws;

and any subsequent amendments.

2	Definitions

Consenting authority refers to the regional council or unitary authority that granted the water permit.

Water measurement system refers to all components of the measurement configuration which include:

- Service Water meter – instrument that continuously measures and records the volume of water that passes through it.

- Headworks – the structure at the head of the water delivery system that contains the service water meter.

- Telemetry system – includes datalogger, communication devices, associated cabling and power supply.

3	Assessment

Evidence for all outcomes must be presented in accordance with the New Zealand Water Measurement Code of Practice; available from the Irrigation New Zealand website, http://irrigationnz.co.nz/.

Outcomes and performance criteria

Outcome 1

Select a water measurement telemetry system.

Performance criteria

  - Select a water measurement telemetry system to be installed in accordance with specifications.

Range 	includes but is not limited to – legislation, regulations, relevant consenting authority requirements, code of practice, specific permit conditions.

Outcome 2

Prepare for and carry out installation of a selected water measurement telemetry system.

Performance criteria

2.1	Check selected water measurement telemetry system components and install and confirm their configurations to correctly handle and transmit data.

2.2	Check installed water measurement telemetry system location for consistency with legislation, regulations, guidelines, relevant consenting authority requirements, code of practice and specific permit conditions.

2.3	Check the water measurement telemetry system function is not compromised post installation during site reinstatement.

Outcome 3

Commission the water measurement telemetry system and complete reporting requirements.

Performance criteria

3.1	Commission a water measurement telemetry system.

3.2	Write and submit a commissioning report to the relevant organisations.

Range 		may include but is not limited to – consent holder, consenting authority, data hosts, data managers.

| Planned review date | 31 December 2028 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 25 January 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0179 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Muka Tangata - People, Food and Fibre Workforce Development Council qualifications@mukatangata.nz if you wish to suggest changes to the content of this unit standard.