| Title | Select, use, and care for complex engineering measuring equipment for precision jobs |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | People credited with this unit standard are able to select, use and care for complex engineering measuring equipment for precision jobs. |
| --- | --- |

| Classification | Mechanical Engineering > Engineering - Measurement |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Definitions

Accepted industry practice – approved codes of practice and standardised procedures accepted by the wider mechanical engineering industry sectors as examples of best practice.

Complex engineering measuring equipment – equipment capable of measuring in two dimensions (2D) with a minimum of measurement uncertainty, and which requires specialist knowledge in terms of its purpose and operation.  Examples are – gear tooth verniers, bevel protractors, thread measuring equipment, surface finish instruments, 2D optical comparators (profile projectors), computer-controlled height gauges, sine bars, and sine tables, co-ordinate measuring machines.

Workplace procedures – procedures used by the organisation carrying out the work and applicable to the tasks being carried out.  Examples are – standard operating procedures, safety procedures, equipment operating procedures, codes of practice, quality management practices and standards, procedures to comply with legislative and local body requirements.

2	Recommended for entry

Unit 4437, Select, use, and care for advanced engineering measuring equipment.

Outcomes and performance criteria

Outcome 1

Select complex engineering measuring equipment.

Range	three items of complex equipment.

Performance criteria

1.1	Measuring equipment is selected having regard to the quantity to be measured, expected magnitude, and ability to meet required tolerances.

1.2	Measurement technique is planned and explained prior to commencing work.

1.3	Measuring equipment is inspected for damage and faults, and, where necessary, remedial action is taken in accordance with workplace procedures and accepted industry practice.

Range	examples of damage and faults are – deformation, breakages, missing parts, cleanliness, expired calibration, wear, corrosion.

Outcome 2

Use complex engineering measuring equipment.

Range	items selected in outcome 1.

Performance criteria

2.1	Use of the measuring equipment achieves the required accuracy, and the tolerance of the measurement is quoted.

2.2	Measurements are validated by re-measurement with the same or alternate equipment.

2.3	Measuring equipment and objects to be measured are not damaged during measurement.

2.4	Measurements are recorded in accordance with accepted industry practice.

Range	number of decimal places, units, prefixes, symbols, accuracy.

Outcome 3

Care for complex engineering measuring equipment.

Range	items selected in outcome 1.

Performance criteria

3.1	Measuring equipment is handled and stored in a manner that maintains its integrity.

| Planned review date | 31 December 2022 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 May 1995 | 31 December 2011 |
| Revision | 2 | 14 April 1997 | 31 December 2011 |
| Revision | 3 | 5 January 1999 | 31 December 2011 |
| Revision | 4 | 23 May 2001 | 31 December 2011 |
| Review | 5 | 21 February 2005 | 31 December 2014 |
| Review | 6 | 17 June 2011 | 31 December 2022 |
| Review | 7 | 17 August 2017 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0013 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Competenz qualifications@competenz.org.nz if you wish to suggest changes to the content of this unit standard.