| Title | Demonstrate knowledge of structural fire behaviour |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | This unit standard is primarily for fire officers. People credited with this unit standard are able to identify the behaviour of structural and cladding materials under fire conditions, and predict the likelihood of fire spread. |
| --- | --- |

| Classification | Fire and Rescue Services > Fire and Rescue Services - Structural and Industrial |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Compliance with the fire and rescue service provider’s Health and Safety policy and procedures is mandatory.

2	Assessment against this unit standard may take place under real or practical simulated conditions.

3	The primary references for this unit standard are: Edgerley, P.G., and Robinson, P.G., Handbook for Fire Engineers (Leicester: Institution of Fire Engineers, 1989); and Buchanan, A.H. (ed), Fire Engineering Design Guide (Christchurch: Centre for Advanced Engineering, 2001).

4	Performance of the outcomes and performance criteria during assessment against this unit standard must be in accordance with the primary references.

Outcomes and performance criteria

Outcome 1

Identify the behaviour of structural and cladding materials under fire conditions.

Range	must include but is not limited to – timber, concrete, brick, steel, glass, aluminium.

Performance criteria

1.1	Properties of structural and cladding materials under fire conditions are identified in terms of their combustibility and co-efficient of linear expansion.

1.2	Thermal properties of materials at elevated temperatures are identified.

Range	thermal conductivity, thermal capacity, thermal diffusivity.

1.3	Strength and deformation characteristics of materials at elevated temperatures are identified.

Range	proportional limit, yield strength, ultimate strength, modulus of elasticity, co-efficient of linear expansion, creep.

Outcome 2

Predict the likelihood of fire spread.

Performance criteria

2.1	Radiated heat intensities and radiation distance required for ignition are identified.

Range	neighbour's combustible wall (plastic and cellulosic), the neighbour's non-combustible wall not fitted with fire resistant glazing, the neighbour's non-combustible wall fitted with fire resistant glazing.

2.2	The likelihood of fire spread within a building structure and between structures is identified.

Range	fire spread by radiation, spontaneous ignition, pilot ignition, surface ignition.

2.3	The likelihood of vertical fire spread, both internally and externally, is estimated for a given building’s structure.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 18 June 1995 | 31 December 2025 |
| Revision | 2 | 21 May 1998 | 31 December 2025 |
| Revision | 3 | 2 August 1999 | 31 December 2025 |
| Review | 4 | 25 March 2004 | 31 December 2025 |
| Review | 5 | 20 November 2009 | 31 December 2025 |
| Review | 6 | 30 September 2021 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0039 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.