| Title | Explain principles of structural fire |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 6 |

| Purpose | This unit standard is for people who must develop an understanding of the behaviour of fire in building structures, for the purposes of fire and rescue services, planning or investigation. People credited with this unit standard are able to explain fundamentals of: the process of fire development; fire severity in building compartment fires; fire behaviour tests; and fire growth models. |
| --- | --- |

| Classification | Fire and Rescue Services > Fire and Rescue Services - Structural and Industrial |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Recommended: Unit 4651, Demonstrate knowledge of structural fire behaviour, or demonstrate equivalent knowledge and skills.

2	Compliance with the fire and rescue service provider’s Health and Safety policy and procedures is mandatory.

3	Assessment against this unit standard may take place under real or practical simulated conditions.

4	The primary references for this unit standard are: Edgerley, P.G., and Robinson, P.G., Handbook for Fire Engineers (Leicester: Institution of Fire Engineers, 1989); and Buchanan, A.H. (ed), Fire Engineering Design Guide (Christchurch: Centre for Advanced Engineering, 2001).

5	Performance of the outcomes and performance criteria during assessment against this unit standard must be in accordance with the primary references.

Outcomes and performance criteria

Outcome 1

Explain fundamentals of the process of fire development.

Performance criteria

1.1	Fire growth periods are identified in terms of variance in materials, construction, and protection systems.

1.2	Burning and decay periods are assessed in terms of time.

1.3	The rate of burning is explained in terms of the method of calculation.

1.4	The importance of rate of burning is explained in terms of fire development.

1.5	The progress of temperature change within fire is explained.

1.6	The concepts of flashover and backdraught are explained in terms of their differences.

Outcome 2

Explain fundamentals of fire severity in building compartment fires.

Performance criteria

2.1	The concept of fire severity is explained.

Range	fuel load, fuel configuration.

2.2	Fuel-controlled and ventilation-controlled fires are described in terms of their differences.

Range	fire severity, fire duration.

2.3	The heat balance for a building compartment is explained in terms of the structure's materials and design.

2.4	The method for calculating a fire load for a given compartment is identified in terms of the factors involved.

Outcome 3

Explain fundamentals of fire behaviour tests.

Performance criteria

3.1	The methods used to predict the combustibility and toxicity of materials are identified and explained.

Range	non-combustibility tests, combustibility tests, toxicity tests, small-scale tests.

3.2	The methods used to predict the fire resistance of structural elements are identified and explained.

Range	fire resistance test furnaces, standard fire curve, testing procedures, testing conditions.

3.3	The interpretation of test results, the pass or fail criteria for tests, and limitations of test methods are explained in terms of the factors involved.

Outcome 4

Explain fundamentals of fire growth models.

Performance criteria

4.1	Available fire growth models are identified in terms of type.

Range	zone, field.

4.2	The limitations on computer modelling are explained in terms of programmed assumptions, data-entry decisions and the limitations of mathematical models.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 18 June 1995 | 31 December 2025 |
| Revision | 2 | 21 May 1998 | 31 December 2025 |
| Revision | 3 | 2 August 1999 | 31 December 2025 |
| Review | 4 | 25 March 2004 | 31 December 2025 |
| Review | 5 | 20 November 2009 | 31 December 2025 |
| Review | 6 | 30 September 2021 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0039 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.