| Title | Describe electric fencing components and systems |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | People credited with this unit standard are able to describe: electric fencing components; electric fence features, advantages and suitability of wire types for animal containment; power sources and the performance characteristics of different types of electric fence energisers; and safety considerations for electric fence earthing system installations. |
| --- | --- |

| Classification | Agriculture > Fencing |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

Product use manuals are available from manufacturers and should be consulted in all teaching and training situations.

Outcomes and performance criteria

Outcome 1

Describe electric fencing components.

Performance criteria

1.1	Describe insulator types in terms of their function.

Range	insulator types may include but are not limited to – wooden and steel post, end, insultube, thread through;

evidence of two types is required.

1.2	Describe electric fence support posts in terms of their types and function.

Range	support posts may include but are not limited to – fibreglass rod, plastic, steel standard, timber post;

evidence of two support posts is required.

1.3	Describe sundry components in terms of their use.

Range	components include but are not limited to – cut-off switches, line clamps, under-gate cable, outriggers, insulated droppers, earth pegs, energizer.

Outcome 2

Describe electric fence features, advantages and suitability of wire types for animal containment.

Performance criteria

2.1	Describe electric fences in terms of their features that contribute to livestock containment.

Range	features include but are not limited to – physical, psychological.

2.2	Describe electric fences in terms of their advantages.

Range	advantages include but are not limited to – cost, ease of construction.

2.3	Describe electric fences in terms of the suitability of wire types for animal containment purposes.

Range	wire types may include but are not limited to – high tensile, aluminium, 4mm mild, netting;

evidence of two wire types is required.

Outcome 3

Describe the power sources and the performance characteristics of different types of electric fence energisers.

Performance criteria

3.1	Describe power sources in terms of performance.

Range	power sources include but are not limited to – solar, battery, mains.

3.2	Describe the selection of an electric fence energiser in terms of features to consider to containing livestock.

Range	features may include but are not limited to – livestock type, energiser stored joules, distance rating, power source for energiser, compensate for power loss;

evidence of three features is required.

Outcome 4

Describe safety considerations for electric fence earthing system installations.

Performance criteria

4.1	Describe prevention methods for radio and telephone interference and placement of caution signs in terms of electric fence earthing system installations.

4.2	Describe safety protocols of electric fence earthing system installations in accordance with manufacturer's installation instructions.

Range	protocols include but are not limited to – earthing materials, placement of pegs in relation to mains earth, wire type.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 27 September 1993 | 31 December 2023 |
| Review | 2 | 28 February 1997 | 31 December 2023 |
| Review | 3 | 25 June 2002 | 31 December 2023 |
| Review | 4 | 22 August 2008 | 31 December 2023 |
| Review | 5 | 29 April 2021 | N/A |
| Revision | 6 | 25 November 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0052 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Muka Tangata – People, Food and Fibre Workforce Development Council qualifications@mukatangata.nz if you wish to suggest changes to the content of this unit standard.