| Title | Recognise the requirements of routine maintenance of electrical equipment |  |  |
| --- | --- | --- | --- |
| Level | 2 | Credits | 2 |

| Purpose | People credited with this unit standard are able to: – state and describe the requirements and importance of routine maintenance of electrical equipment; – demonstrate knowledge of routine maintenance procedures of electrical equipment; and – assist with routine maintenance of electrical equipment. |
| --- | --- |

| Classification | Electrical Engineering > Electrical Installation and Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment on-job.

2	Range

Electrical equipment may include but is not limited to – equipment, plant, or machinery powered by electricity, and which periodically requires attention in the form of inspection, adjustment, measurement, tuning, overhaul, component replacement, lubrication, or cleaning, so that it may continue to operate safely and efficiently, and in compliance with any legislative requirements.

Outcomes and performance criteria

Outcome 1

State and describe the requirements and importance of routine maintenance of electrical equipment.

Performance criteria

1.1	Requirements for routine maintenance are stated.

1.2	The importance of routine maintenance is described.

Outcome 2

Demonstrate knowledge of routine maintenance procedures of electrical equipment.

Performance criteria

2.1	The criteria for determining installation layout are stated.

Range	maintenance and layout diagrams, location of equipment.

2.2	Location of details for in-house maintenance programmes is stated.

2.3	Procedures for carrying out routine maintenance are described.

Outcome 3

Assist with routine maintenance of electrical equipment.

Performance criteria

3.1	Equipment is located.

3.2	Manufacturer's manuals are identified.

3.3	Procedures for fault location are described.

3.4	Replacement parts are collected.

3.5	Materials are assembled.

3.6	Assistance is given while maintenance is carried out.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 April 1996 | 31 December 2013 |
| Revision | 2 | 16 June 1999 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 26 May 2005 | 31 December 2027 |
| Rollover and Revision | 5 | 15 March 2012 | 31 December 2027 |
| Revision | 6 | 15 January 2014 | 31 December 2027 |
| Rollover and Revision | 7 | 28 January 2021 | 31 December 2027 |
| Review | 8 | 25 May 2023 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.