| Title | Demonstrate knowledge of programmable logic controllers (PLCs) |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 3 |

| Purpose | This unit standard covers a basic knowledge of Programmable Logic Controllers (PLCs), including the ability to design and implement a simple program on any one type of PLC. People credited with this unit standard are able to: – demonstrate knowledge of PLC principles; and – design, write, and store a PLC program. |
| --- | --- |

| Classification | Electrical Engineering > Core Electrical |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment off-job.

2	This unit standard and unit standards 29422, 29434, 29471, 29475, 29481, and 29482 together meet the requirements of ERAC EPC 51.

3	Any type of PLC that is capable of implementing the range of outcome 2 may be used for assessment purposes.

4	Definitions

EEPROM / E2PROM – Electrically Erasable Programmable Read-Only Memory.

EPC – Essential Performance Capabilities.

EPROM – erasable programmable read-only memory

ERAC – Electrical Regulatory Authorities Council.

EWRB – Electrical Workers Registration Board.

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

PLC – programmable logic controller.

PROM – Programmable read-only memory

RAM – random access memory.

ROM – read-only memory.

Safe and sound practice – as it relates to the installation of electrical equipment is defined in AS/NZS 3000:2007, Electrical Installations (known as the Australian/New Zealand Wiring Rules).

5	Range

a	Candidates may refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation;

ii	policies and procedures;

iii	ethical codes;

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010;

v	applicable site, enterprise, and industry practice; and,

vi	where appropriate, manufacturers’ instructions, specifications, and data sheets.

6	Recommended skills and knowledge:

Unit 2780, Demonstrate and apply knowledge of a personal computer system; or demonstrate equivalent knowledge and skills.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of PLC principles.

Performance criteria

1.1	Compare PLC’s to relay and hard-wired logic, and state advantages.

Range	multiple contacts, variety of control tasks, ease of alteration and duplication, time savings, on-line documentation.

1.2	Describe PLC functional components and hardware modules.

Range	input device, input interface, microprocessor or central processing unit (CPU), memory, programmer, output interface, output device; Input/Output (I/O) devices, I/O modules, I/O signal types, high-speed counter, timer, power supply.

1.3	Describe program memory types from the point of view of information storage and retrieval, and explain acronyms.

Range	EPROM, EEPROM, RAM, ROM, PROM.

1.4	Describe operating sequence of a PLC.

Range	program steps, scan or execution time, image table, register update, diagnostic checking.

1.5	Describe PLC programmers and programming methods.

1.6	Explain PLC terms with reference to the operation of a typical PLC.

1.7	Explain the need to program normally-closed emergency stop buttons as normally-open.

Outcome 2

Design, write, and store a PLC program.

Range	minimum of three digital inputs, two digital outputs, one timer, one counter, two internal relays or flags.

Performance criteria

2.1	Follow programming language rules in terms of power flow directions and programming direction.

2.2	Match symbols and address systems to the type of PLC used.

Range	inputs, outputs, timers, counters, internal relays or flags.

2.3	Enter program in accordance with manufacturer’s instructions.

2.4	Verify program operation against requirements.

2.5	Save program in accordance with manufacturer’s instructions.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 April 1996 | 31 December 2013 |
| Review | 2 | 10 February 1999 | 31 December 2013 |
| Review | 3 | 26 May 2005 | 31 December 2021 |
| Rollover and Revision | 4 | 15 March 2012 | 31 December 2021 |
| Revision | 5 | 15 January 2014 | 31 December 2021 |
| Review | 6 | 21 July 2016 | 31 December 2027 |
| Review | 7 | 25 May 2023 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do