| Title | Test electrical appliances for safety |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 3 |

| Purpose | This unit standard is for people in the electrical industry who need to test appliances to ensure that they are electrically safe. People credited with this unit standard are able to: – state the regulatory requirements for safety testing of electrical appliances; – describe the requirements for safety testing of electrical appliances; and – carry out safety testing of electrical appliances. |
| --- | --- |

| Classification | Electrical Engineering > Electrical Appliance Servicing |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment off-job.

2	Competency under this unit standard does not entitle the candidate to legally perform prescribed electrical work without adequate supervision until the candidate has been registered and licensed under the Electricity Act 1992.

3	References

Electricity (Safety) Regulations 2010;

Electricity Act 1992;

Health and Safety at Work 2015, and associated regulations;

AS/NZS 3760:2010, In-service safety inspection and testing of electrical equipment including Amendment 1;

and all subsequent amendments and replacements.

4	Definition

Current regulations and standards – refers to the requirements of the above legislation and standards, applied to the context in which the term is used.

Outcomes and performance criteria

Outcome 1

State the regulatory requirements for safety testing of electrical appliances.

Performance criteria

1.1	The circumstances under which appliances must be tested are identified according to current regulations and standards.

1.2	The tests to be carried out are stated according to current regulations and standards.

1.3	The meaning of the term electrically safe is stated in accordance with current regulations and standards.

Outcome 2

Describe the requirements for safety testing of electrical appliances.

Performance criteria

2.1	Description includes items to be inspected visually in accordance with current regulations and standards.

2.2	Description includes protective earthing tests and acceptable limits in accordance with current regulations and standards.

2.3	Description includes insulation resistance tests and the acceptable limits in accordance with current regulations and standards.

2.4	Description includes polarity tests for single-phase and three-phase appliances in accordance with current regulations and standards.

2.5	Description includes tests for phase rotation in accordance with current regulations and standards.

2.6	Description includes the test instruments to be used for each type of test.

2.7	Reasons are stated as to why the test voltage for insulation tests must be at least twice the normal voltage.

2.8	Action to be taken following testing is stated for compliant and for non-compliant appliances in accordance with current regulations and standards.

2.9	Description includes the frequency of inspection and testing of electrical appliances in accordance with current regulations and standards.

Outcome 3

Carry out safety testing of electrical appliances.

Range	three single-phase appliances, one three-phase appliance, one residual current device, one extension lead, one isolating transformer.

Performance criteria

3.1	Visual inspections are completed in accordance with current regulations and standards.

3.2	Electrical tests are completed in accordance with current regulations and standards.

3.3	Test results are recorded to meet industry requirements.

3.4	Actions resulting from inspection and testing are carried out in accordance with current regulations and standards.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 April 1996 | 31 December 2013 |
| Review | 2 | 10 February 1999 | 31 December 2013 |
| Review | 3 | 28 January 2001 | 31 December 2013 |
| Revision | 4 | 3 April 2001 | 31 December 2013 |
| Review | 5 | 26 May 2005 | 31 December 2022 |
| Rollover and Revision | 6 | 20 September 2012 | 31 December 2022 |
| Revision | 7 | 15 January 2014 | 31 December 2022 |
| Review | 8 | 28 January 2021 | 31 December 2022 |
| Reinstatement | 9 | 29 July 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.