| Title | Demonstrate knowledge of electrical test instruments and take measurements |  |  |
| --- | --- | --- | --- |
| Level | 2 | Credits | 2 |

| Purpose | This unit standard is for people needing to make basic electrical measurements of voltage, current, resistance, continuity, and insulation. People credited with this unit standard are able to: – demonstrate knowledge of electrical test instruments – select and use four electrical test instruments. |
| --- | --- |

| Classification | Electrical Engineering > Core Electrical |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment off-job or on-job.

2	Definitions

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

Safe and sound practice – as it relates to the installation of electrical equipment is defined in AS/NZS 3000 (version as cited in Electricity (Safety) Regulations), Electrical Installations (known as the Australian/New Zealand Wiring Rules).

3	The prove-test-prove method refers to proving the instrument before and after a test to ensure that it works properly, and is particularly important when confirming electrical isolation.  Some instruments have fused leads and may give false indication of isolation if the fuse is open circuit or blows during the test.  Proving is done by applying the instrument to a circuit that is known to be energised and observing the measured voltage, testing the circuit to be isolated to ensure it is in fact isolated, then proving the instrument again on a circuit that is known to be energised.

4	Range

a	Candidates may refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation

ii	policies and procedures

iii	ethical codes

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010

v	applicable site, enterprise, and industry practice

vi	where appropriate, manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of electrical test instruments.

Performance criteria

1.1	Explain instrument class classifications.

1.2	Describe four instruments in terms of their principles of operation and their applications.

Range	may include but is not limited to – multimeter, clip-on ammeter, insulation tester, earth loop impedance tester, residual current device tester, appliance tester.

1.3	Outline thermal test instrument operation and application.

1.4	State four consequences of incorrect use of test instruments.

Range	incorrect uses may include but is not limited to – polarity reversed, use of wrong instrument, incorrect connection to the circuit, incorrect range or function selection, open circuit fuse in fused lead, broken test lead, open circuit test lead.

Outcome 2

Select and use four electrical test instruments.

Range	may include but is not limited to – multimeter, clip-on ammeter, insulation tester, earth loop impedance tester, RCD tester, appliance tester.

Performance criteria

2.1	Select the instrument to match the type of measurement in terms of range and class of instrument.

2.2	Inspect instrument visually for safety prior to testing.

2.3	Demonstrate the prove-test-prove method according to industry practice.

2.4	Take measurements and compare with expected readings.

2.5	State the approximate tolerance for each measurement.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 March 1994 | 31 December 2013 |
| Review | 2 | 23 April 1996 | 31 December 2013 |
| Review | 3 | 10 February 1999 | 31 December 2013 |
| Revision | 4 | 3 April 2001 | 31 December 2013 |
| Review | 5 | 26 May 2005 | 31 December 2021 |
| Rollover and Revision | 6 | 15 March 2012 | 31 December 2021 |
| Revision | 7 | 15 January 2014 | 31 December 2021 |
| Review | 8 | 21 July 2016 | N/A |
| Rollover and Revision | 9 | 25 May 2023 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.