| Title | Work safely in a microbiological laboratory |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 2 |

| Purpose | This unit standard is for any person working in a technical capacity in a microbiological laboratory. People credited with this unit standard are able to: demonstrate knowledge of microbiological hazards; and follow microbiological laboratory procedures for health and safety practices |
| --- | --- |

| Classification | Science > Science - Core |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	All work must be carried out in accordance with the quality management system, documented protocol system or Standard Operating Procedures (SOP) acceptable in a commercial or research laboratory.

2	Health and Safety practices must conform to Australian/New Zealand Standard AS/NZS 2243 – Safety in Laboratories Parts 1, 2, 3, 7 and 10 available at http://www.standards.co.nz.

3	This standard may be assessed using simulated conditions.

4	Legislation applicable to this unit standard includes:

Health and Safety at Work Act 2015;

Hazardous Substances and New Organisms Act 1996.

5	Glossary

Laboratory procedures refer to documented systems or processes of operation which may be found in a SOP manual, quality management system, or in protocol system documentation.  These procedures are external and/or internal laboratory requirements governing laboratory work.

6	Recommended for entry: Unit 497, Demonstrate knowledge of workplace health and safety requirements; Unit 26117, Work safely in a science laboratory.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of microbiological hazards.

Range	microbiological hazards include – cultures, spills, aerosols, disposal, contamination from handling;

evidence of one example for each hazard is required.

Performance criteria

1.1	Microbiological hazards are identified in accordance with laboratory procedures.

1.2	Examples of hazards are described in terms of consequences and how they are managed in accordance with laboratory procedures.

Outcome 2

Follow microbiological laboratory procedures for health and safety practices.

Performance criteria

2.1	Safe working practices are demonstrated in accordance with laboratory procedures.

Range	safe handling techniques, storage, clean-up, disposal.

2.2	Incidents and accidents relating to health and safety are managed, reported, and documented in accordance with laboratory procedures.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 24 September 1996 | 31 December 2014 |
| Revision | 2 | 19 February 1998 | 31 December 2014 |
| Review | 3 | 23 November 1999 | 31 December 2014 |
| Review | 4 | 22 September 2004 | 31 December 2014 |
| Review | 5 | 21 May 2010 | 31 December 2025 |
| Rollover | 6 | 27 January 2015 | 31 December 2025 |
| Review | 7 | 27 September 2018 | 31 December 2025 |
| Review | 8 | 30 November 2023 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0113 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.